## PARTS LIST
[5 empty] | Model: | KCHRI27R1DRE
[5 empty] | PNC: | 738241
Spare Parts List |  |  |  |  | REV: | 2024-04-15
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Support Of Unit Board | ALL | 2PCS | 0USJ68 | KCHRI27R1DRE | 738241
2 | BRAKE WHEEL | ALL | 2PCS | 0USF04 | KCHRI27R1DRE | 738241
3 | BAFFLE PLATE | ALL | 1PC | 0USL49 | KCHRI27R1DRE | 738241
4 | NORMAL WHEEL | ALL | 2PCS | 0USH64 | KCHRI27R1DRE | 738241
4a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2T | KCHRI27R1DRE | 738241
4b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC2Z | KCHRI27R1DRE | 738241
4c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2Y | KCHRI27R1DRE | 738241
5 | Door Hinge /Down Right | ALL | 1PC | 0USF78 | KCHRI27R1DRE | 738241
6 | Washer Of Down Hinge | ALL | 2PCS | 0USI27 | KCHRI27R1DRE | 738241
7 | Body | ALL | 1PC | N/A | KCHRI27R1DRE | 738241
8 | Unit Room Cover | ALL | 1PC | 0USI12 | KCHRI27R1DRE | 738241
8a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI27R1DRE | 738241
9 | Shelf | ALL | 3PCS | 0USC0W | KCHRI27R1DRE | 738241
10 | K Shape Clip | ALL | 12PCS | 0USH19 | KCHRI27R1DRE | 738241
11 | Shelf Support | ALL | 4PCS | 0USN77 | KCHRI27R1DRE | 738241
11a | Shelf Support Screw | ALL | 32PCS | 0USM14 | KCHRI27R1DRE | 738241
12 | Door | ALL | 1PC | 0USF64 | KCHRI27R1DRE | 738241
13 | DOWN HINGE AXIS JACKET | ALL | 1PC | 0USDCZ | KCHRI27R1DRE | 738241
14 | Door Spring Hinge | ALL | 1PC | 0USF84 | KCHRI27R1DRE | 738241
15 | Gasket | ALL | 1PC | 0USG97 | KCHRI27R1DRE | 738241
16 | PLUG | ALL | 1PC | 0USH67 | KCHRI27R1DRE | 738241
17 | Washer Of Up Hinge | ALL | 2PCS | 0USI28 | KCHRI27R1DRE | 738241
18 | Door Hinge / Up Right | ALL | 1PC | 0USF72 | KCHRI27R1DRE | 738241
18a | Door Hinge / Up Left | ALL | 1PC | 0USF71 | KCHRI27R1DRE | 738241
19 | Fixed Clip Of Front Panel | ALL | 2PCS | 0USJ80 | KCHRI27R1DRE | 738241
20 | Lamp | ALL | 1PC | 0USH23 | KCHRI27R1DRE | 738241
21 | Led Power Supply | ALL | 1PC | 0USH38 | KCHRI27R1DRE | 738241
22 | Cable Connector | ALL | 1PC | 0USF09 | KCHRI27R1DRE | 738241
24 | Door Switch | ALL | 1PC | 0USF86 | KCHRI27R1DRE | 738241
25 | Front Panel | ALL | 1PC | 0USG81 | KCHRI27R1DRE | 738241
26 | LOCK (with key) | ALL | 1PC | 096258 | KCHRI27R1DRE | 738241
28 | Hinge | ALL | 2PCS | 0USH18 | KCHRI27R1DRE | 738241
29 | Thermostat - Full Set | <03520004 | 1PC | 0USDAD | KCHRI27R1DRE | 738241
29a | Thermostat Contactor | <03520004 | 1PC | 0USH89 | KCHRI27R1DRE | 738241
29b | Thermostat Display | <03520004 | 1PC | 0USN67 | KCHRI27R1DRE | 738241
29c | Thermostat Components | <03520004 | 1PC | 0USDAA | KCHRI27R1DRE | 738241
29 | TEMPERATURE CONTROLLER | ≥03520004 | 1PC | 0USDET | KCHRI27R1DRE | 738241
29a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4D | KCHRI27R1DRE | 738241
30 | SUCTION PIPE COVER | ALL | 1PC | 0USN83 | KCHRI27R1DRE | 738241
31 | Evaporator Water Pan | ALL | 1PC | 0USG53 | KCHRI27R1DRE | 738241
32 | Fixed Board Of Evaporator | <14920110 | 1PC | 0USK26 | KCHRI27R1DRE | 738241
|  | ≥14920110 | 1PC | 0USDH1 | KCHRI27R1DRE | 738241
34 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHRI27R1DRE | 738241
35 | EVAPORATOR | <14920110 | 1PC | 0USG28 | KCHRI27R1DRE | 738241
|  | ≥14920110 | 1PC | 0USDJ4 | KCHRI27R1DRE | 738241
35a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6S | KCHRI27R1DRE | 738241
36 | Wall Ring | ALL | 1PC | 0USI24 | KCHRI27R1DRE | 738241
37 | Circle Fan | ALL | 1PC | 0USF16 | KCHRI27R1DRE | 738241
37a | EVAPORATOR FAN BLADE | ALL | 1PC | 0USC4K | KCHRI27R1DRE | 738241
38 | Circle Fan Support | ALL | 1PC | 0USK28 | KCHRI27R1DRE | 738241
39 | Circle Fan Cover | <14920110 | 1PC | 0USF18 | KCHRI27R1DRE | 738241
|  | ≥14920110 | 1PC | 0USDIR | KCHRI27R1DRE | 738241
40 | Helix Suction Pipe+Capillary B | ALL | 1PC | 0USH15 | KCHRI27R1DRE | 738241
41 | Evaporate Pipe | ALL | 1PC | 0USG17 | KCHRI27R1DRE | 738241
42 | Water Box | ALL | 1PC | 0USI29 | KCHRI27R1DRE | 738241
43 | Compressor | ALL | 1PC | 0USF23 | KCHRI27R1DRE | 738241
43a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF0 | KCHRI27R1DRE | 738241
44 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHRI27R1DRE | 738241
45 | BASKET GUARD GRILLS | ALL | 1PC | 0USDIJ | KCHRI27R1DRE | 738241
46 | Condenser Fan | ALL | 1PC | 0USF15 | KCHRI27R1DRE | 738241
46a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHRI27R1DRE | 738241
47 | Condenser | ALL | 1PC | 0USF34 | KCHRI27R1DRE | 738241
48 | Vertical Suction Pipe+Capillary A | ALL | 1PC | 0USI21 | KCHRI27R1DRE | 738241
49 | Filter Drier | ALL | 1PC | 0USG66 | KCHRI27R1DRE | 738241
49a | CAPILLARY | ALL | 1PC | 0USL42 | KCHRI27R1DRE | 738241
51 | Down Panel | ALL | 1PC | 0USF97 | KCHRI27R1DRE | 738241
52 | Unit Board | ALL | 1PC | 0USJ70 | KCHRI27R1DRE | 738241
53 | Guide Of Unit Board/Left | ALL | 1PC | 0USJ69 | KCHRI27R1DRE | 738241
53a | Guide Of Unit Board/Right | ALL | 1PC | 0USN84 | KCHRI27R1DRE | 738241
54 | Plastic Door Hinge Cover /Down left | ALL | 1PC | 0USDGV | KCHRI27R1DRE | 738241
55 | Wind Guide Foam | ALL | 1PC | 0USI41 | KCHRI27R1DRE | 738241
56 | Fan Grill | ALL | 1PC | 0USDD8 | KCHRI27R1DRE | 738241
57 | Keep Warm Board | ALL | 1PC | 0USH22 | KCHRI27R1DRE | 738241
58 | WATER PIPE | ALL | 1PC | 0USI36 | KCHRI27R1DRE | 738241
58a | Vacuum Valve | ALL | 1PC | 0USDR8 | KCHRI27R1DRE | 738241
59 | Drain Pipe (A Int) | ALL | 1PC | 096261 | KCHRI27R1DRE | 738241
60 | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHRI27R1DRE | 738241
61 | Controller Protector box | ALL | 1PC | 0USN72 | KCHRI27R1DRE | 738241
61a | Controller Protector cover | ALL | 1PC | 0USN73 | KCHRI27R1DRE | 738241
62 | TOP COVER | ALL | 1PC | 0USN85 | KCHRI27R1DRE | 738241
63 | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHRI27R1DRE | 738241
64 | DRAIN HOLDER | ALL | 1PC | 0USN86 | KCHRI27R1DRE | 738241
65 | DRAIN PIPE | ALL | 1PC | 0USN87 | KCHRI27R1DRE | 738241