## PARTS LIST
[5 empty] | Model: | KCHRI54R2DRE
[5 empty] | PNC: | 738242
Spare Parts List |  |  |  |  | REV: | 2025-07-16
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Door Hinge /Down Left | ALL | 1PC | 0USF76 | KCHRI54R2DRE | 738242
2 | BAFFLE PLATE | ALL | 1PC | 0USL49 | KCHRI54R2DRE | 738242
3 | Down Panel | <20220163 | 1PC | 0USF99 | KCHRI54R2DRE | 738242
|  | ≥20220163 | 1PC | 0USFAV | KCHRI54R2DRE | 738242
4 | Wind Guide Foam | ALL | 1PC | 0USI41 | KCHRI54R2DRE | 738242
5 | Support Of Unit Board | ALL | 2PCS | 0USJ75 | KCHRI54R2DRE | 738242
6 | BRAKE WHEEL | ALL | 2PCS | 0USF04 | KCHRI54R2DRE | 738242
7 | Foundation Plate | ALL | 2PCS | 0USJ76 | KCHRI54R2DRE | 738242
8 | NORMAL WHEEL | ALL | 2PCS | 0USH64 | KCHRI54R2DRE | 738242
8a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2T | KCHRI54R2DRE | 738242
8b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC2Z | KCHRI54R2DRE | 738242
8c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2Y | KCHRI54R2DRE | 738242
9 | Washer Of Down Hinge | ALL | 2PCS | 0USI27 | KCHRI54R2DRE | 738242
10 | Body | ALL | 1PC | N/A | KCHRI54R2DRE | 738242
11 | Unit Room Cover | <41920003 | 1PC | 0USI08 | KCHRI54R2DRE | 738242
|  | ≥41920003 | 1PC | 0USO54 | KCHRI54R2DRE | 738242
11a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI54R2DRE | 738242
12 | Door Spring Hinge | <02620040 | 2PCS | 0USF84 | KCHRI54R2DRE | 738242
|  | ≥02620040 | 2PCS | 0USDIZ | KCHRI54R2DRE | 738242
13 | DOWN HINGE AXIS JACKET | ALL | 2PCS | 0USDCZ | KCHRI54R2DRE | 738242
14 | Door/Right/Left | ALL | 2PCS | 0USF64 | KCHRI54R2DRE | 738242
15 | Gasket | ALL | 2PCS | 0USG97 | KCHRI54R2DRE | 738242
16 | K Shape Clip | ALL | 24PCS | 0USH19 | KCHRI54R2DRE | 738242
17 | Shelf | ALL | 6PCS | 0USC0X | KCHRI54R2DRE | 738242
18 | Shelf Support | ALL | 8PCS | 0USN77 | KCHRI54R2DRE | 738242
18a | Shelf Support Screw | ALL | 64PCS | 0USM14 | KCHRI54R2DRE | 738242
19 | PLUG | ALL | 1PC | 0USH67 | KCHRI54R2DRE | 738242
20 | Washer Of Up Hinge | ALL | 2PCS | 0USI28 | KCHRI54R2DRE | 738242
21 | Fixed Clip Of Front Panel | ALL | 2PCS | 0USJ80 | KCHRI54R2DRE | 738242
22 | Lamp | ALL | 1PC | 0USH23 | KCHRI54R2DRE | 738242
23 | Led Power Supply | ALL | 1PC | 0USH38 | KCHRI54R2DRE | 738242
24 | Cable Connector | ALL | 1PC | 0USF09 | KCHRI54R2DRE | 738242
25 | Fan Grill | ALL | 1PC | 0USDD8 | KCHRI54R2DRE | 738242
26 | Insulation Board | ALL | 1PC | 0USH20 | KCHRI54R2DRE | 738242
28 | Front Panel | ALL | 1PC | 0USG83 | KCHRI54R2DRE | 738242
29 | Thermostat - Full Set | <03620005 | 1PC | 0USDAD | KCHRI54R2DRE | 738242
29a | Thermostat Contactor | <03620005 | 1PC | 0USH89 | KCHRI54R2DRE | 738242
29b | Thermostat Display | <03620005 | 1PC | 0USN67 | KCHRI54R2DRE | 738242
29c | Thermostat Components | <03620005 | 1PC | 0USDAA | KCHRI54R2DRE | 738242
29 | TEMPERATURE CONTROLLER | ≥03620005 | 1PC | 0USDET | KCHRI54R2DRE | 738242
29a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4D | KCHRI54R2DRE | 738242
29b | Controller Protector box | ALL | 1PC | 0USN72 | KCHRI54R2DRE | 738242
29c | Controller Protector cover | ALL | 1PC | 0USN73 | KCHRI54R2DRE | 738242
30 | LOCK (with key) | ALL | 2PCS | 096258 | KCHRI54R2DRE | 738242
31 | Hinge | ALL | 2PCS | 0USH18 | KCHRI54R2DRE | 738242
32 | Door Switch | ALL | 2PCS | 0USF86 | KCHRI54R2DRE | 738242
33 | Door Hinge /Up Left | ALL | 1PC | 0USF71 | KCHRI54R2DRE | 738242
33a | Door Hinge /Up Right | ALL | 1PC | 0USF72 | KCHRI54R2DRE | 738242
34 | SUCTION PIPE COVER | ALL | 1PC | 0USN83 | KCHRI54R2DRE | 738242
35 | Fixed Board Of Evaporator | <04121128 | 1PC | 0USJ78 | KCHRI54R2DRE | 738242
|  | ≥04121128 | 1PC | 0USDH1 | KCHRI54R2DRE | 738242
37 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHRI54R2DRE | 738242
38 | Wall Ring | ALL | 1PC | 0USI24 | KCHRI54R2DRE | 738242
39 | Circle Fan | ALL | 1PC | 0USF13 | KCHRI54R2DRE | 738242
39a | EVAPORATOR FAN BLADE | ALL | 1PC | 0USC4K | KCHRI54R2DRE | 738242
40 | EVAPORATOR | <04121128 | 1PC | 0USG21 | KCHRI54R2DRE | 738242
|  | ≥04121128 | 1PC | 0USDJ5 | KCHRI54R2DRE | 738242
40a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6S | KCHRI54R2DRE | 738242
41 | EVAPORATOR WATER PAN | ALL | 1PC | 0USJ74 | KCHRI54R2DRE | 738242
42 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USF20 | KCHRI54R2DRE | 738242
43 | Circle Fan Cover | <04121128 | 1PC | 0USK20 | KCHRI54R2DRE | 738242
|  | ≥04121128 | 1PC | 0USDIQ | KCHRI54R2DRE | 738242
44 | Helix Suction Pipe+Capillary B | ALL | 1PC | 0USH17 | KCHRI54R2DRE | 738242
45 | Evaporate Pipe | ALL | 1PC | 0USG17 | KCHRI54R2DRE | 738242
46 | Water Box | ALL | 1PC | 0USI29 | KCHRI54R2DRE | 738242
47 | COMPRESSOR | ALL | 1PC | 0USF28 | KCHRI54R2DRE | 738242
47a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF5 | KCHRI54R2DRE | 738242
48 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHRI54R2DRE | 738242
49 | BASKET GUARD GRILLS | ALL | 1PC | 0USDIJ | KCHRI54R2DRE | 738242
50 | Condenser Fan | ALL | 1PC | 0USF15 | KCHRI54R2DRE | 738242
50a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHRI54R2DRE | 738242
51 | Vertical Suction Pipe+Capillary A | ALL | 1PC | 0USI22 | KCHRI54R2DRE | 738242
52 | Filter Drier | ALL | 1PC | 0USG66 | KCHRI54R2DRE | 738242
52a | CAPILLARY | ALL | 1PC | 0USM13 | KCHRI54R2DRE | 738242
53 | Condenser | ALL | 1PC | 0USF34 | KCHRI54R2DRE | 738242
54 | Unit Board | ALL | 1PC | 0USJ70 | KCHRI54R2DRE | 738242
55 | Guide Of Unit Board/Left | ALL | 1PC | 0USJ69 | KCHRI54R2DRE | 738242
55a | Guide Of Unit Board/Right | ALL | 1PC | 0USN84 | KCHRI54R2DRE | 738242
56 | Door Hinge /Down Right | ALL | 1PC | 0USF78 | KCHRI54R2DRE | 738242
57 | Middle Girder | ALL | 1PC | 0USN88 | KCHRI54R2DRE | 738242
58 | Middle Girder Fixer | ALL | 2PCS | 0USH58 | KCHRI54R2DRE | 738242
59 | WATER PIPE | ALL | 1PC | 0USI36 | KCHRI54R2DRE | 738242
60 | DRAIN PIPE(B EXT) | ALL | 1PC | 096261 | KCHRI54R2DRE | 738242
61 | Drain Pipe (A Int) | ALL | 1PC | 096263 | KCHRI54R2DRE | 738242
63 | TOP COVER | ALL | 1PC | 0USN89 | KCHRI54R2DRE | 738242
64 | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHRI54R2DRE | 738242
65 | DRAIN HOLDER | ALL | 1PC | 0USN86 | KCHRI54R2DRE | 738242
66 | DRAIN PIPE | ALL | 1PC | 0USN87 | KCHRI54R2DRE | 738242
67 | Bottom Seal Grill | <9052379 |  | N/A | KCHRI54R2DRE | 738242
|  | ≥9052379 | 1PC | 0USDIN | KCHRI54R2DRE | 738242
| Vacuum Valve | <002492001389 |  | N/A | KCHRI54R2DRE | 738242
|  | ≥002492001389 | 1PC | 0USDR8 | KCHRI54R2DRE | 738242