## PARTS LIST - ENGLISH
[5 empty] | Model: | KCHRI81R3DF To use After Serial number 95310027
[5 empty] | PNC: | 738246
Spare Parts List |  |  |  |  | REV: | 2025-07-16
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | DOOR HINGE /DOWN/LEFT | ALL | 1PC | 0USF76 | KCHRI81R3DF | 738246
2 | BAFFLE PLATE | ALL | 1PC | 0USL49 | KCHRI81R3DF | 738246
3 | DOWN PANEL | ALL | 1PC | 0USO16 | KCHRI81R3DF | 738246
4 | WIND GUIDE FOAM | ALL | 2PCS | 0USI41 | KCHRI81R3DF | 738246
5 | DOWN HINGE /MIDDLE | ALL | 1PC | 0USL16 | KCHRI81R3DF | 738246
6 | SUPPORT OF UNIT BOARD | ALL | 2PCS | 0USL76 | KCHRI81R3DF | 738246
7 | BRAKE WHEEL | ALL | 3PCS | 0USF04 | KCHRI81R3DF | 738246
8 | FOUNDATION PLATE | ALL | 4PCS | 0USJ76 | KCHRI81R3DF | 738246
9 | NORMAL WHEEL | ALL | 3PCS | 0USH64 | KCHRI81R3DF | 738246
9a | Castor Mounting Bolt (4-PACK) | ALL | 6PC | 0USC2T | KCHRI81R3DF | 738246
9b | Castor Mounting Locking Washer (4-PACK) | ALL | 6PC | 0USC2Z | KCHRI81R3DF | 738246
9c | Castor Mounting Flat Washer (4-PACK) | ALL | 6PC | 0USC2Y | KCHRI81R3DF | 738246
10 | WASHER OF DOWN HINGE | ALL | 2PCS | 0USI27 | KCHRI81R3DF | 738246
11 | BODY | ALL | 1PC | N/A | KCHRI81R3DF | 738246
12 | UNIT ROOM COVER I | ALL | 1PC | 0USO17 | KCHRI81R3DF | 738246
12a | UNIT ROOM COVER II | ALL | 1PC | 0USL83 | KCHRI81R3DF | 738246
12b | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI81R3DF | 738246
13 | DOWN HINGE AXIS JACKET | ALL | 3PCS | 0USDCZ | KCHRI81R3DF | 738246
14 | DOOR | ALL | 3PCS | 0USF64 | KCHRI81R3DF | 738246
15 | GASKET | ALL | 3PCS | 0USG97 | KCHRI81R3DF | 738246
16 | DOOR SPRING HINGE | <02620060 | 3PCS | 0USF84 | KCHRI81R3DF | 738246
|  | ≥02620060 | 3PCS | 0USDIZ | KCHRI81R3DF | 738246
17 | K SHAPE CLIP | ALL | 36PCS | 0USH19 | KCHRI81R3DF | 738246
18 | SHELF /LEFT/RIGHT | ALL | 6PCS | 0USC0X | KCHRI81R3DF | 738246
19 | SHELF/MIDDLE | ALL | 3PCS | 0USC0Z | KCHRI81R3DF | 738246
20 | SHELF SUPPORT | ALL | 12PCS | 0USN77 | KCHRI81R3DF | 738246
20a | Shelf Support Screw | ALL | 96PCS | 0USM14 | KCHRI81R3DF | 738246
21 | PLUG | ALL | 1PC | 0USN96 | KCHRI81R3DF | 738246
23 | DOOR HINGE /UP/LEFT | ALL | 1PC | 0USF71 | KCHRI81R3DF | 738246
23a | DOOR HINGE /UP/RIGHT | ALL | 1PC | 0USF72 | KCHRI81R3DF | 738246
24 | CONTACTOR FOR COMPRESSOR | ALL | 1PC | 0USL67 | KCHRI81R3DF | 738246
24a | CONTACTOR FOR DEFROST HEATER | ALL | 1PC | 0USL67 | KCHRI81R3DF | 738246
25 | CONTACTOR FOR SWITCH | ALL | 1PC | 0USO08 | KCHRI81R3DF | 738246
26 | UP HINGE /MIDDLE | ALL | 1PC | 0USO18 | KCHRI81R3DF | 738246
27 | FIXED CLIP OF FRONT PANEL | ALL | 3PCS | 0USL64 | KCHRI81R3DF | 738246
29 | Lamp | ALL | 2PCS | 0USH23 | KCHRI81R3DF | 738246
31 | MAIN SWITCH | ALL | 1PC | 0USH45 | KCHRI81R3DF | 738246
32 | Thermostat - Full Set | <04120083 | 1PC | 0USDAF | KCHRI81R3DF | 738246
32a | Thermostat Contactor | <04120083 | 1PC | 0USH90 | KCHRI81R3DF | 738246
32b | Thermostat Display | <04120083 | 1PC | 0USN67 | KCHRI81R3DF | 738246
32c | Thermostat Components | <04120083 | 1PC | 0USDAA | KCHRI81R3DF | 738246
32 | THERMOSTAT CONTROLLER | ≥04120083 | 1PC | 0USDES | KCHRI81R3DF | 738246
32a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4E | KCHRI81R3DF | 738246
33 | FRONT PANEL | ALL | 1PC | 0USC4N | KCHRI81R3DF | 738246
33a | TOP COVER | ALL | 1PC | 0USO22 | KCHRI81R3DF | 738246
34 | LOCK (with key) | ALL | 3PCS | 096258 | KCHRI81R3DF | 738246
35 | DOOR SWITCH | ALL | 3PCS | 0USF86 | KCHRI81R3DF | 738246
36 | HINGE | ALL | 2PCS | 0USH18 | KCHRI81R3DF | 738246
37 | SUCTION PIPE COVER | ALL | 1PC | 0USN83 | KCHRI81R3DF | 738246
38 | PROTECTOR FOR HEATING ELEMENT | ALL | 1PC | 0USH71 | KCHRI81R3DF | 738246
39 | FIXED BOARD OF EVAPORATOR | <23120490 | 1PC | 0USL62 | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDH1 | KCHRI81R3DF | 738246
40 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHRI81R3DF | 738246
42 | WALL RING | ALL | 2PCS | 0USI24 | KCHRI81R3DF | 738246
43 | CIRCLE FAN | ALL | 2PCS | 0USF10 | KCHRI81R3DF | 738246
43a | FAN BLADE | ALL | 2PCS | 0USC4K | KCHRI81R3DF | 738246
44 | EVAPORATOR | <23120490 | 1PC | 0USN97 | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDSH | KCHRI81R3DF | 738246
44a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6T | KCHRI81R3DF | 738246
45 | DEFROST HEATING ELEMENT | ALL | 1PC | 0USO10 | KCHRI81R3DF | 738246
46 | EVAPORATOR WATER PAN | ALL | 1PC | 0USN99 | KCHRI81R3DF | 738246
47 | DRAIN PIPE HEATER | ALL | 1PC | 0USI37 | KCHRI81R3DF | 738246
48 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USO00 | KCHRI81R3DF | 738246
49 | CIRCLE FAN COVER | <23120490 | 1PC | 0USC4O | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDSL | KCHRI81R3DF | 738246
49a | Drain Pipe (A Int) | ALL | 1PC | 096263 | KCHRI81R3DF | 738246
49b | DRAIN PIPE(B EXT) | ALL | 1PC | 096261 | KCHRI81R3DF | 738246
49c | WATER PIPE | ALL | 1PC | 0USI36 | KCHRI81R3DF | 738246
50 | HELIX SUCTION PIPE+CAPILLARY B | ALL | 1PC | 0USC4P | KCHRI81R3DF | 738246
51 | CABLE CONNECTOR | ALL | 1PC | 0USF09 | KCHRI81R3DF | 738246
52 | EVAPORATE PIPE | ALL | 1PC | 0USC4Q | KCHRI81R3DF | 738246
53 | WATER BOX | ALL | 1PC | 0USI29 | KCHRI81R3DF | 738246
54 | COMPRESSOR | ALL | 1PC | 0USC4R | KCHRI81R3DF | 738246
54a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDEX | KCHRI81R3DF | 738246
55 | BASKET GUARD GRILL | <00221075 | 2PCS | 0USI82 | KCHRI81R3DF | 738246
|  | ≥00221075 | 2PCS | 0USO53 | KCHRI81R3DF | 738246
56 | CONDENSER FAN | ALL | 2PCS | 0USF15 | KCHRI81R3DF | 738246
56a | FAN BLADE | ALL | 2PCS | 0USC4K | KCHRI81R3DF | 738246
57 | CONDENSER | ALL | 1PC | 0USC4S | KCHRI81R3DF | 738246
58 | FILTER DRIER | ALL | 1PC | 0USG66 | KCHRI81R3DF | 738246
58a | CAPILLARY | ALL | 1PC | 0USL51 | KCHRI81R3DF | 738246
59 | VERTICAL SUCTION PIPE+CAPILLARY A | ALL | 1PC | 0USO02 | KCHRI81R3DF | 738246
60 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHRI81R3DF | 738246
61 | UNIT BOARD | ALL | 1PC | 0USC4T | KCHRI81R3DF | 738246
62 | GUIDE OF UNIT BOARD/LEFT | ALL | 1PC | 0USJ69 | KCHRI81R3DF | 738246
62a | GUIDE OF UNIT BOARD/RIGHT | ALL | 1PC | 0USN84 | KCHRI81R3DF | 738246
63 | DOOR HINGE /DOWN/RIGHT | ALL | 1PC | 0USF78 | KCHRI81R3DF | 738246
64 | MIDDLE GIRDER/ LEFT | ALL | 1PC | 0USC6O | KCHRI81R3DF | 738246
64a | MIDDLE GIRDER/ RIGHT | ALL | 1PC | 0USH57 | KCHRI81R3DF | 738246
65 | MIDDLE GIRDER FIXER | ALL | 4PCS | 0USH58 | KCHRI81R3DF | 738246
66 | Insulation Board | ALL | 1PC | 0USC2S | KCHRI81R3DF | 738246
67 | Fan Grill | ALL | 2PCS | 0USDD8 | KCHRI81R3DF | 738246
68 | Controller Protector | ALL | 1PC | 0USN72 | KCHRI81R3DF | 738246
68a | Controller Protector cover | ALL | 1PC | 0USN73 | KCHRI81R3DF | 738246
69 | Led Power Supply | ALL | 1PC | 0USH38 | KCHRI81R3DF | 738246
70 | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHRI81R3DF | 738246
71 | DRAIN HOLDER | ALL | 1PC | 0USN86 | KCHRI81R3DF | 738246
72 | DRAIN PIPE | ALL | 1PC | 0USN87 | KCHRI81R3DF | 738246
73 | Bottom Seal Grill | <9205533 |  | N/A | KCHRI81R3DF | 738246
|  | ≥9205533 | 1PC | 0USDIO | KCHRI81R3DF | 738246
74 | Bottom Seal Grill | <9205533 |  | N/A | KCHRI81R3DF | 738246
|  | ≥9205533 | 1PC | 0USDWH | KCHRI81R3DF | 738246
| Vacuum Valve | < 002492001689 |  | N/A | KCHRI81R3DF | 738246
|  | ≥ 002492001689 | 1PC | 0USDR8 | KCHRI81R3DF | 738246

## PARTS LIST - SPANISH
[5 empty] | Modelo: | KCHRI81R3DF Para usar después del número de serie 95310027
[5 empty] | PNC: | 738246
Lista de repuestos |  |  |  |  | REV: | 2025-07-16
NO | DESCRIPCIÓN | de serie # | QTY | COMPONENTE PNC | Número de modelo | Modelo PNC
1 | BISAGRA DE PUERTA /INFERIOR/IZQUIERDA | TODO | 1PC | 0USF76 | KCHRI81R3DF | 738246
2 | PLACA DEFLECTORA | TODO | 1PC | 0USL49 | KCHRI81R3DF | 738246
3 | PANEL INFERIOR | TODO | 1PC | 0USO16 | KCHRI81R3DF | 738246
4 | ESPUMA DE GUÍA DE VIENTO | TODO | 2PCS | 0USI41 | KCHRI81R3DF | 738246
5 | BISAGRA INFERIOR /INTERMEDIA | TODO | 1PC | 0USL16 | KCHRI81R3DF | 738246
6 | SOPORTE DE PLACA DE UNIÓN | TODO | 2PCS | 0USL76 | KCHRI81R3DF | 738246
7 | RUEDA CON FRENO | TODO | 3PCS | 0USF04 | KCHRI81R3DF | 738246
8 | PLACA DE CIMENTACIÓN | TODO | 4PCS | 0USJ76 | KCHRI81R3DF | 738246
9 | RUEDA NORMAL | TODO | 3PCS | 0USH64 | KCHRI81R3DF | 738246
9a | Perno de montaje de rueda; (PAQUETE DE 4) | TODO | 6PC | 0USC2T | KCHRI81R3DF | 738246
9b | Arandela de seguridad de montaje de rueda; (PAQUETE DE 4) | TODO | 6PC | 0USC2Z | KCHRI81R3DF | 738246
9c | Arandela plana de montaje de rueda (PAQUETE DE 4) | TODO | 6PC | 0USC2Y | KCHRI81R3DF | 738246
10 | ARANDELA DE BISAGRA INFERIOR | TODO | 2PCS | 0USI27 | KCHRI81R3DF | 738246
11 | CUERPO | TODO | 1PC | N/A | KCHRI81R3DF | 738246
12 | CUBIERTA DE SALA DE UNIDAD I | TODO | 1PC | 0USO17 | KCHRI81R3DF | 738246
12a | CUBIERTA DE SALA DE UNIDAD II | TODO | 1PC | 0USL83 | KCHRI81R3DF | 738246
12b | MANDO DE UBICACIÓN | TODO | 2PCS | 0USH46 | KCHRI81R3DF | 738246
13 | CUBIERTA DE EJE DE BISAGRA INFERIOR | TODO | 3PCS | 0USDCZ | KCHRI81R3DF | 738246
14 | PUERTA | TODO | 3PCS | 0USF64 | KCHRI81R3DF | 738246
15 | JUNTA | TODO | 3PCS | 0USG97 | KCHRI81R3DF | 738246
16 | BISAGRA DE RESORTE DE PUERTA | <02620060 | 3PCS | 0USF84 | KCHRI81R3DF | 738246
|  | ≥02620060 | 3PCS | 0USDIZ | KCHRI81R3DF | 738246
17 | CLIP EN FORMA DE K | TODO | 36PCS | 0USH19 | KCHRI81R3DF | 738246
18 | ESTANTE /IZQUIERDO/DERECHO | TODO | 6PCS | 0USC0X | KCHRI81R3DF | 738246
19 | ESTANTE/INTERMEDIO | TODO | 3PCS | 0USC0Z | KCHRI81R3DF | 738246
20 | SOPORTE DE ESTANTE | TODO | 12PCS | 0USN77 | KCHRI81R3DF | 738246
20a | Tornillo de soporte de estante | TODO | 96PCS | 0USM14 | KCHRI81R3DF | 738246
21 | TAPÓN | TODO | 1PC | 0USN96 | KCHRI81R3DF | 738246
23 | BISAGRA DE PUERTA/SUPERIOR/IZQUIERDA | TODO | 1PC | 0USF71 | KCHRI81R3DF | 738246
23a | BISAGRA DE PUERTA/SUPERIOR/DERECHA | TODO | 1PC | 0USF72 | KCHRI81R3DF | 738246
24 | CONTACTOR DE COMPRESOR | TODO | 1PC | 0USL67 | KCHRI81R3DF | 738246
24a | CONTACTOR DE CALENTADOR DE DESCONGELACIÓN | TODO | 1PC | 0USL67 | KCHRI81R3DF | 738246
25 | CONTACTOR DE INTERRUPTOR | TODO | 1PC | 0USO08 | KCHRI81R3DF | 738246
26 | BISAGRA SUPERIOR /INTERMEDIA | TODO | 1PC | 0USO18 | KCHRI81R3DF | 738246
27 | CLIP FIJO DE PANEL DELANTERO | TODO | 3PCS | 0USL64 | KCHRI81R3DF | 738246
29 | Lámpara | TODO | 2PCS | 0USH23 | KCHRI81R3DF | 738246
31 | SECCIONADOR GENERAL | TODO | 1PC | 0USH45 | KCHRI81R3DF | 738246
32 | Termostato - juego completo | <04120083 | 1PC | 0USDAF | KCHRI81R3DF | 738246
32a | Contactor del termostato | <04120083 | 1PC | 0USH90 | KCHRI81R3DF | 738246
32b | Pantalla del termostato | <04120083 | 1PC | 0USN67 | KCHRI81R3DF | 738246
32c | Componentes de termostato | <04120083 | 1PC | 0USDAA | KCHRI81R3DF | 738246
32 | CONTROLADOR DEL TERMOSTATO | ≥04120083 | 1PC | 0USDES | KCHRI81R3DF | 738246
32a | Sonda interior de temperatura de unidad horizontal | TODO | 1PC | 0USC4E | KCHRI81R3DF | 738246
33 | PANEL DELANTERO | TODO | 1PC | 0USC4N | KCHRI81R3DF | 738246
33a | CUBIERTA SUPERIOR | TODO | 1PC | 0USO22 | KCHRI81R3DF | 738246
34 | CERRADURA (con llave) | TODO | 3PCS | 096258 | KCHRI81R3DF | 738246
35 | INTERRUPTOR DE PUERTA | TODO | 3PCS | 0USF86 | KCHRI81R3DF | 738246
36 | BISAGRA | TODO | 2PCS | 0USH18 | KCHRI81R3DF | 738246
37 | TAPA DE TUBO DE ASPIRACIÓN | TODO | 1PC | 0USN83 | KCHRI81R3DF | 738246
38 | PROTECCIÓN DE RESISTENCIA | TODO | 1PC | 0USH71 | KCHRI81R3DF | 738246
39 | PLACA FIJA DEL EVAPORADOR | <23120490 | 1PC | 0USL62 | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDH1 | KCHRI81R3DF | 738246
40 | CLIP FIJO DE SENSOR | TODO | 1PC | 0USM10 | KCHRI81R3DF | 738246
42 | ANILLO DE PARED | TODO | 2PCS | 0USI24 | KCHRI81R3DF | 738246
43 | VENTILADOR CIRCULAR | TODO | 2PCS | 0USF10 | KCHRI81R3DF | 738246
43a | PALA DE VENTILADOR | TODO | 2PCS | 0USC4K | KCHRI81R3DF | 738246
44 | EVAPORADOR | <23120490 | 1PC | 0USN97 | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDSH | KCHRI81R3DF | 738246
44a | Sonda del sensor de temperatura del evaporador | TODO | 1PC | 0USC6T | KCHRI81R3DF | 738246
45 | RESISTENCIA DE DESCONGELACIÓN | TODO | 1PC | 0USO10 | KCHRI81R3DF | 738246
46 | RECIPIENTE DE AGUA DEL EVAPORADOR | TODO | 1PC | 0USN99 | KCHRI81R3DF | 738246
47 | CALENTADOR DE TUBOS DE DESCARGA | TODO | 1PC | 0USI37 | KCHRI81R3DF | 738246
48 | SOPORTE DEL VENTILADOR CIRCULAR | TODO | 1PC | 0USO00 | KCHRI81R3DF | 738246
49 | CUBIERTA DEL VENTILADOR CIRCULAR | <23120490 | 1PC | 0USC4O | KCHRI81R3DF | 738246
|  | ≥23120490 | 1PC | 0USDSL | KCHRI81R3DF | 738246
49a | Tubo de descarga (A int.) | TODO | 1PC | 096263 | KCHRI81R3DF | 738246
49b | TUBO DE DESCARGA (B EXT.) | TODO | 1PC | 096261 | KCHRI81R3DF | 738246
49c | CONDUCTO DE AGUA | TODO | 1PC | 0USI36 | KCHRI81R3DF | 738246
50 | TUBO DE ASPIRACIÓN HELICOIDAL+CAPILAR B | TODO | 1PC | 0USC4P | KCHRI81R3DF | 738246
51 | CONECTOR DE CABLE | TODO | 1PC | 0USF09 | KCHRI81R3DF | 738246
52 | TUBO DE EVAPORACIÓN | TODO | 1PC | 0USC4Q | KCHRI81R3DF | 738246
53 | CAJA DE AGUA | TODO | 1PC | 0USI29 | KCHRI81R3DF | 738246
54 | COMPRESOR | TODO | 1PC | 0USC4R | KCHRI81R3DF | 738246
54a | JUEGO DE COMPONENTES ELÉCTRICOS DEL COMPRESOR | TODO | 1PC | 0USDEX | KCHRI81R3DF | 738246
55 | REJILLA PROTECTORA DE CESTOS | <00221075 | 2PCS | 0USI82 | KCHRI81R3DF | 738246
|  | ≥00221075 | 2PCS | 0USO53 | KCHRI81R3DF | 738246
56 | VENTILADOR DEL CONDENSADOR | TODO | 2PCS | 0USF15 | KCHRI81R3DF | 738246
56a | PALA DE VENTILADOR | TODO | 2PCS | 0USC4K | KCHRI81R3DF | 738246
57 | CONDENSADOR | TODO | 1PC | 0USC4S | KCHRI81R3DF | 738246
58 | SECADOR DE FILTROS | TODO | 1PC | 0USG66 | KCHRI81R3DF | 738246
58a | CAPILAR | TODO | 1PC | 0USL51 | KCHRI81R3DF | 738246
59 | TUBO DE ASPIRACIÓN VERTICAL+CAPILAR A | TODO | 1PC | 0USO02 | KCHRI81R3DF | 738246
60 | SOPORTE DE SECADOR | TODO | 1PC | 0USI78 | KCHRI81R3DF | 738246
61 | PLACA DE UNIÓN | TODO | 1PC | 0USC4T | KCHRI81R3DF | 738246
62 | GUÍA DE PLACA DE UNIÓN/IZQUIERDA | TODO | 1PC | 0USJ69 | KCHRI81R3DF | 738246
62a | GUÍA DE PLACA DE UNIÓN/DERECHA | TODO | 1PC | 0USN84 | KCHRI81R3DF | 738246
63 | BISAGRA DE PUERTA /INFERIOR/DERECHA | TODO | 1PC | 0USF78 | KCHRI81R3DF | 738246
64 | VIGUETA INTERMEDIA/IZQUIERDA | TODO | 1PC | 0USC6O | KCHRI81R3DF | 738246
64a | VIGUETA INTERMEDIA/ DERECHA | TODO | 1PC | 0USH57 | KCHRI81R3DF | 738246
65 | FIJADOR DE VIGUETA INTERMEDIA | TODO | 4PCS | 0USH58 | KCHRI81R3DF | 738246
66 | Placa aislante | TODO | 1PC | 0USC2S | KCHRI81R3DF | 738246
67 | Rejilla de ventilador | TODO | 2PCS | 0USDD8 | KCHRI81R3DF | 738246
68 | Protector del controlador | TODO | 1PC | 0USN72 | KCHRI81R3DF | 738246
68a | Tapa de protector del controlador | TODO | 1PC | 0USN73 | KCHRI81R3DF | 738246
69 | Alimentación de LED | TODO | 1PC | 0USH38 | KCHRI81R3DF | 738246
70 | FIJADOR DE DESCARGA | TODO | 1PC | 0USN75 | KCHRI81R3DF | 738246
71 | SOPORTE DE DESCARGA | TODO | 1PC | 0USN86 | KCHRI81R3DF | 738246
72 | TUBO DE DESCARGA | TODO | 1PC | 0USN87 | KCHRI81R3DF | 738246
73 | Rejilla de sellado inferior | <9205533 |  | N/A | KCHRI81R3DF | 738246
|  | ≥9205533 | 1PC | 0USDIO | KCHRI81R3DF | 738246
74 | Rejilla de sellado inferior | <9205533 |  | N/A | KCHRI81R3DF | 738246
|  | ≥9205533 | 1PC | 0USDWH | KCHRI81R3DF | 738246
| Válvula de vacío | < 002492001689 |  | N/A | KCHRI81R3DF | 738246
|  | ≥ 002492001689 | 1PC | 0USDR8 | KCHRI81R3DF | 738246