## PARTS LIST
[5 empty] | Model: | KCHRI81R3DF - R404a To use Prior to Serial number 95310027
[5 empty] | PNC: | 738246
Spare Parts List |  |  |  |  | REV: | 2024-04-15
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | DOOR HINGE /DOWN/ LEFT | ALL | 1PC | 0USF76 | KCHRI81R3DF - R404a | 738246
2 | BAFFLE PLATE | ALL | 1PC | 0USL49 | KCHRI81R3DF - R404a | 738246
3 | DOWN PANEL | ALL | 1PC | 0USO16 | KCHRI81R3DF - R404a | 738246
4 | WIND GUIDE FOAM | ALL | 2PCS | 0USI41 | KCHRI81R3DF - R404a | 738246
5 | DOWN HINGE /MIDDLE | ALL | 1PC | 0USL16 | KCHRI81R3DF - R404a | 738246
6 | SUPPORT OF UNIT BOARD | ALL | 2PCS | 0USL76 | KCHRI81R3DF - R404a | 738246
7 | BRAKE WHEEL | ALL | 3PCS | 0USF04 | KCHRI81R3DF - R404a | 738246
8 | FOUNDATION PLATE | ALL | 4PCS | 0USJ76 | KCHRI81R3DF - R404a | 738246
9 | NORMAL WHEEL | ALL | 3PCS | 0USH64 | KCHRI81R3DF - R404a | 738246
9a | Castor Mounting Bolt (4-PACK) | ALL | 6PC | 0USC2T | KCHRI81R3DF - R404a | 738246
9b | Castor Mounting Locking Washer (4-PACK) | ALL | 6PC | 0USC2Z | KCHRI81R3DF - R404a | 738246
9c | Castor Mounting Flat Washer (4-PACK) | ALL | 6PC | 0USC2Y | KCHRI81R3DF - R404a | 738246
10 | WASHER OF DOWN HINGE | ALL | 2PCS | 0USI27 | KCHRI81R3DF - R404a | 738246
11 | BODY | ALL | 1PC | N/A | KCHRI81R3DF - R404a | 738246
12 | UNIT ROOM COVER I | ALL | 1PC | 0USO17 | KCHRI81R3DF - R404a | 738246
12a | UNIT ROOM COVER II | ALL | 1PC | 0USL83 | KCHRI81R3DF - R404a | 738246
12b | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI81R3DF - R404a | 738246
13 | DOWN HINGE AXIS JACKET | ALL | 3PCS | 0USDCZ | KCHRI81R3DF - R404a | 738246
14 | DOOR | ALL | 3PCS | 0USF64 | KCHRI81R3DF - R404a | 738246
15 | GASKET | ALL | 3PCS | 0USG97 | KCHRI81R3DF - R404a | 738246
16 | DOOR SPRING HINGE | ALL | 3PCS | 0USF84 | KCHRI81R3DF - R404a | 738246
17 | K SHAPE CLIP | ALL | 36PCS | 0USH19 | KCHRI81R3DF - R404a | 738246
18 | SHELF /LEFT/RIGHT | ALL | 6PCS | 0USC0X | KCHRI81R3DF - R404a | 738246
19 | SHELF/MIDDLE | ALL | 3PCS | 0USC0Z | KCHRI81R3DF - R404a | 738246
20 | SHELF SUPPORT | ALL | 12PCS | 0USN77 | KCHRI81R3DF - R404a | 738246
20a | Shelf Support Screw | ALL | 96PCS | 0USM14 | KCHRI81R3DF - R404a | 738246
21 | PLUG | ALL | 1PC | 0USN96 | KCHRI81R3DF - R404a | 738246
22 | WASHER OF UP HINGE | ALL | 2PCS | 0USI28 | KCHRI81R3DF - R404a | 738246
23 | Door Hinge /Up Left | ALL | 1PC | 0USF71 | KCHRI81R3DF - R404a | 738246
23a | Door Hinge /Up Right | ALL | 1PC | 0USF72 | KCHRI81R3DF - R404a | 738246
24 | CONTACTOR FOR COMPRESSOR | ALL | 1PC | 0USL67 | KCHRI81R3DF - R404a | 738246
24 | CONTACTOR FOR Defrost Heater | ALL | 1PC | 0USL67 | KCHRI81R3DF - R404a | 738246
25 | CONTACTOR FOR SWITCH | ALL | 1PC | 0USO08 | KCHRI81R3DF - R404a | 738246
26 | UP HINGE /MIDDLE | ALL | 1PC | 0USO18 | KCHRI81R3DF - R404a | 738246
27 | Fixed Clip Of Front Panel | ALL | 3PCS | 0USL64 | KCHRI81R3DF - R404a | 738246
28 | LAMP COVER | ALL | 2PCS | 0USO23 | KCHRI81R3DF - R404a | 738246
29 | LAMP | ALL | 2PCS | 0USL69 | KCHRI81R3DF - R404a | 738246
31 | MAIN SWITCH | ALL | 1PC | 0USI58 | KCHRI81R3DF - R404a | 738246
32 | THERMOSTAT CONTROLLER | ALL | 1PC | 0USH92 | KCHRI81R3DF - R404a | 738246
32a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4F | KCHRI81R3DF - R404a | 738246
33 | FRONT PANEL | ALL | 1PC | 0USL75 | KCHRI81R3DF - R404a | 738246
33a | TOP COVER | ALL | 1PC | 0USO22 | KCHRI81R3DF - R404a | 738246
34 | LOCK (with key) | ALL | 3PCS | 096258 | KCHRI81R3DF - R404a | 738246
35 | DOOR SWITCH | ALL | 3PCS | 0USL12 | KCHRI81R3DF - R404a | 738246
36 | HINGE (HEADER) | ALL | 2PCS | 0USH18 | KCHRI81R3DF - R404a | 738246
37 | SUCTION PIPE COVER | ALL | 1PC | 0USN83 | KCHRI81R3DF - R404a | 738246
37a | WATER PIPE | ALL | 1PC | 0USI36 | KCHRI81R3DF - R404a | 738246
37b | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHRI81R3DF - R404a | 738246
37c | DRAIN HOLDER | ALL | 1PC | 0USN86 | KCHRI81R3DF - R404a | 738246
37d | DRAIN PIPE | ALL | 1PC | 0USN87 | KCHRI81R3DF - R404a | 738246
38 | PROTECTOR FOR HEATING ELEMENT | ALL | 1PC | 0USH71 | KCHRI81R3DF - R404a | 738246
39 | FIXED BOARD OF EVAPORATOR | ALL | 1PC | 0USL62 | KCHRI81R3DF - R404a | 738246
41 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHRI81R3DF - R404a | 738246
42 | WALL RING | ALL | 2PCS | 0USI24 | KCHRI81R3DF - R404a | 738246
43 | CIRCLE FAN | ALL | 2PCS | 0USF10 | KCHRI81R3DF - R404a | 738246
43a | EVAPORATOR FAN BLADE | ALL | 2PCS | 0USC4K | KCHRI81R3DF - R404a | 738246
44 | EVAPORATOR | ALL | 1PC | 0USN97 | KCHRI81R3DF - R404a | 738246
44a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6U | KCHRI81R3DF - R404a | 738246
45 | DEFROST HEATING ELEMENT | ALL | 1PC | 0USO10 | KCHRI81R3DF - R404a | 738246
46 | EVAPORATOR WATER PAN | ALL | 1PC | 0USN99 | KCHRI81R3DF - R404a | 738246
46a | Keep Warm Board | ALL | 1PC | 0USC2S | KCHRI81R3DF - R404a | 738246
46b | Drain Pipe (A Int) | ALL | 1PC | 096263 | KCHRI81R3DF - R404a | 738246
46c | DRAIN PIPE(B EXT) | ALL | 1PC | 096261 | KCHRI81R3DF - R404a | 738246
47 | DRAIN PIPE HEATER | ALL | 1PC | 0USO09 | KCHRI81R3DF - R404a | 738246
48 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USO00 | KCHRI81R3DF - R404a | 738246
48a | Fan Grill | ALL | 2PCS | 0USDD8 | KCHRI81R3DF - R404a | 738246
49 | CIRCLE FAN COVER | ALL | 1PC | 0USO24 | KCHRI81R3DF - R404a | 738246
50 | HELIX SUCTION PIPE+CAPILLARY B | ALL | 1PC | 0USO25 | KCHRI81R3DF - R404a | 738246
51 | CABLE CONNECTOR | ALL | 1PC | 0USF09 | KCHRI81R3DF - R404a | 738246
52 | EVAPORATE PIPE | ALL | 1PC | 0USO03 | KCHRI81R3DF - R404a | 738246
53 | WATER BOX | ALL | 1PC | 0USI29 | KCHRI81R3DF - R404a | 738246
54 | COMPRESSOR | ALL | 1PC | 0USO04 | KCHRI81R3DF - R404a | 738246
54a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDEY | KCHRI81R3DF - R404a | 738246
55 | BASKET GUARD GRILL | ALL | 2PCS | 0USI82 | KCHRI81R3DF - R404a | 738246
56 | CONDENSER FAN | ALL | 2PCS | 0USF15 | KCHRI81R3DF - R404a | 738246
56a | CONDENSER FAN BLADE | ALL | 2PCS | 0USC4K | KCHRI81R3DF - R404a | 738246
57 | CONDENSER | ALL | 1PC | 0USO05 | KCHRI81R3DF - R404a | 738246
58 | FILTER DRIER | ALL | 1PC | 0USG66 | KCHRI81R3DF - R404a | 738246
58a | CAPILLARY | ALL | 1PC | 0USC4M | KCHRI81R3DF - R404a | 738246
59 | VERTICAL SUCTION PIPE+CAPILLARY A | ALL | 1PC | 0USO02 | KCHRI81R3DF - R404a | 738246
60 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHRI81R3DF - R404a | 738246
61 | UNIT BOARD | ALL | 1PC | 0USO07 | KCHRI81R3DF - R404a | 738246
62 | Guide Of Unit Board/Left | ALL | 1PC | 0USJ69 | KCHRI81R3DF - R404a | 738246
62a | Guide Of Unit Board/Right | ALL | 1PC | 0USN84 | KCHRI81R3DF - R404a | 738246
63 | DOOR HINGE /DOWN RIGHT | ALL | 1PC | 0USF78 | KCHRI81R3DF - R404a | 738246
64 | MIDDLE GIRDER/ LEFT | ALL | 1PC | 0USC6M | KCHRI81R3DF - R404a | 738246
64a | MIDDLE GIRDER/ RIGHT | ALL | 1PC | 0USC6N | KCHRI81R3DF - R404a | 738246
65 | MIDDLE GIRDER FIXER | ALL | 4PCS | 0USH58 | KCHRI81R3DF - R404a | 738246