## PARTS LIST
[5 empty] | Model: | KCHST48.12
[5 empty] | PNC: | 738256
Spare Parts List |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
2 | TEMPERATURE CONTROLLER | <00521021 | 1PC | 0USF42 | KCHST48.12 | 738256
|  | ≥00521021 | 1PC | 0USDET | KCHST48.12 | 738256
2a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHST48.12 | 738256
2b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHST48.12 | 738256
8 | CABLE COVER | ALL | 1PC | 0USK07 | KCHST48.12 | 738256
9 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHST48.12 | 738256
10 | FRONT SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ59 | KCHST48.12 | 738256
11 | NORMAL WHEEL | ALL | 2PCS | 0USH63 | KCHST48.12 | 738256
11a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHST48.12 | 738256
11b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHST48.12 | 738256
11c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHST48.12 | 738256
12 | BACK SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ60 | KCHST48.12 | 738256
13 | LOWER DOOR HINGE/RIGHT | ALL | 1PC | 0USF81 | KCHST48.12 | 738256
14 | BODY | ALL | 1PC | N/A | KCHST48.12 | 738256
15 | TOP CLIP | ALL | 4PCS | 0USL80 | KCHST48.12 | 738256
16 | UNIT ROOM COVER | ALL | 1PC | 0USI14 | KCHST48.12 | 738256
17 | PLUG | ALL | 1PC | 0USH67 | KCHST48.12 | 738256
18 | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHST48.12 | 738256
19 | FIXED CLIP OF CUTTING BOARD | ALL | 2PCS | 0USG69 | KCHST48.12 | 738256
20 | TOP | ALL | 1PC | 0USN26 | KCHST48.12 | 738256
21 | CUTTING BOARD | ALL | 1PC | 0USN27 | KCHST48.12 | 738256
22 | PAN SUPPORT /FRONT | ALL | 1PC | 0USN28 | KCHST48.12 | 738256
22a | PAN SUPPORT /BACK | ALL | 1PC | 0USDEI | KCHST48.12 | 738256
23 | STANDARD PAN | ALL | 12PCS | N/A | KCHST48.12 | 738256
24 | PAN SUPPORT /LEFT/RIGHT | ALL | 2PCS | 0USN29 | KCHST48.12 | 738256
25 | PAN SUPPORT | ALL | 5PCS | 0USJ33 | KCHST48.12 | 738256
26 | HANDLE OF COVER | ALL | 1PC | 0USH09 | KCHST48.12 | 738256
27 | MOVING COVER | ALL | 1PC | 0USN30 | KCHST48.12 | 738256
27a | MOVING COVER LINER | ALL | 1PC | 0USN31 | KCHST48.12 | 738256
28 | FIXED COVER | ALL | 1PC | 0USN32 | KCHST48.12 | 738256
28a | FIXED COVER LINER | ALL | 1PC | 0USN33 | KCHST48.12 | 738256
29 | CONDENSER | <03121022 | 1PC | 0USF34 | KCHST48.12 | 738256
|  | ≥03121022 | 1PC | 0USO57 | KCHST48.12 | 738256
30 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHST48.12 | 738256
31 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHST48.12 | 738256
32 | CAPILLARY | ALL | 1PC | 0USM13 | KCHST48.12 | 738256
33 | CONDENSER FAN | ALL | 1PC | 0USDGW | KCHST48.12 | 738256
33a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHST48.12 | 738256
34 | BASKET GUARD GRILLS | ALL | 1PC | 0USDIJ | KCHST48.12 | 738256
35 | EVAPORATE PIPE | ALL | 1PC | 0USG14 | KCHST48.12 | 738256
36 | WATER BOX | ALL | 1PC | 0USI29 | KCHST48.12 | 738256
37 | COMPRESSOR | ALL | 1PC | 0USF28 | KCHST48.12 | 738256
37a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF5 | KCHST48.12 | 738256
38 | SUCTION PIPE | ALL | 1PC | 0USM95 | KCHST48.12 | 738256
39 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHST48.12 | 738256
40 | CABLE CONNECTION | ALL | 1PC | 0USF09 | KCHST48.12 | 738256
41 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHST48.12 | 738256
42 | GUIDE OF UNIT BOARD/LEFT | ALL | 1PC | 0USK50 | KCHST48.12 | 738256
42a | GUIDE OF UNIT BOARD/RIGHT | ALL | 1PC | 0USK49 | KCHST48.12 | 738256
43 | UNIT BOARD | ALL | 1PC | 0USK32 | KCHST48.12 | 738256
45 | CIRCLE FAN | ALL | 3PCS | 0USF14 | KCHST48.12 | 738256
46 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USL22 | KCHST48.12 | 738256
47 | EVAPORATOR | ALL | 1PC | 0USM96 | KCHST48.12 | 738256
47a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHST48.12 | 738256
48 | EVAPORATOR WATER PAN | ALL | 1PC | 0USG59 | KCHST48.12 | 738256
49 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHST48.12 | 738256
50 | EVAPORATOR COVER | ALL | 1PC | 0USL23 | KCHST48.12 | 738256
52 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHST48.12 | 738256
53 | SHELF SUPPORT B | ALL | 4PCS | 0USI66 | KCHST48.12 | 738256
53a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHST48.12 | 738256
54 | SHELF | ALL | 2PCS | 0USC0M | KCHST48.12 | 738256
55 | SHELF SUPPORT A | ALL | 4PCS | 0USI44 | KCHST48.12 | 738256
55a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHST48.12 | 738256
56 | K SHAPE CLIP | ALL | 8PCS | 0USH19 | KCHST48.12 | 738256
57 | UP HINGE/LEFT | ALL | 1PC | 0USI16 | KCHST48.12 | 738256
58 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHST48.12 | 738256
59 | BUSHING | ALL | 2PCS | 096268 | KCHST48.12 | 738256
60 | GASKET | ALL | 2PCS | 0USH00 | KCHST48.12 | 738256
61 | DOOR/LEFT | ALL | 1PC | 0USM97 | KCHST48.12 | 738256
61a | DOOR /RIGHT | ALL | 1PC | 0USM98 | KCHST48.12 | 738256
62 | DOOR SPRING HINGE | ALL | 2PCS | 0USF83 | KCHST48.12 | 738256
63 | CONDUCT BOARD | ALL | 1PC | 0USN34 | KCHST48.12 | 738256
63a | CONDUCT BOARD SIDE PLATE | ALL | 2PCS | 0USL32 | KCHST48.12 | 738256
64 | LOWER DOOR HINGE/LEFT | ALL | 1PC | 0USF80 | KCHST48.12 | 738256
65 | MIDDLE GIRDER | ALL | 1PC | 0USC6D | KCHST48.12 | 738256
66 | MIDDLE GIRDER FIXER | ALL | 2PCS | 0USH59 | KCHST48.12 | 738256
67 | FIXED BOLT | ALL | 2PCS | 0USG67 | KCHST48.12 | 738256
68 | FIXED NUT | ALL | 2PCS | 0USG73 | KCHST48.12 | 738256