## PARTS LIST - ENGLISH
[5 empty] | Model: | KCHST60.16
[5 empty] | PNC: | 738257
Spare Parts List |  |  |  |  | REV: | 2026-06-26
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Controller Mounting Plate | <54220032 | 1PC | 0USDIF | KCHST60.16 | 738257
| Controller Mounting Plate (With Steel Box) | ≥54220032 | 1PC | 0USO91 | KCHST60.16 | 738257
2 | TEMPERATURE CONTROLLER | <01021133 | 1PC | 0USF42 | KCHST60.16 | 738257
|  | ≥01021133 | 1PC | 0USDET | KCHST60.16 | 738257
9 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHST60.16 | 738257
10 | FRONT SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ61 | KCHST60.16 | 738257
11 | NORMAL WHEEL | ALL | 2PCS | 0USH63 | KCHST60.16 | 738257
11a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHST60.16 | 738257
11b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHST60.16 | 738257
11c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHST60.16 | 738257
12 | BACK SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ62 | KCHST60.16 | 738257
13 | LOWER DOOR HINGE/RIGHT | ALL | 1PC | 0USF81 | KCHST60.16 | 738257
14 | BODY | ALL | 1PC | N/A | KCHST60.16 | 738257
15 | TOP CLIP | ALL | 4PCS | 0USL80 | KCHST60.16 | 738257
16 | UNIT ROOM COVER | ALL | 1PC | 0USI10 | KCHST60.16 | 738257
17 | PLUG | ALL | 1PC | 0USH67 | KCHST60.16 | 738257
18 | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHST60.16 | 738257
19 | FIXED CLIP OF CUTTING BOARD | ALL | 2PCS | 0USG69 | KCHST60.16 | 738257
20 | TOP | ALL | 1PC | 0USN35 | KCHST60.16 | 738257
21 | CUTTING BOARD | ALL | 1PC | 0USN36 | KCHST60.16 | 738257
22 | PAN SUPPORT /FRONT | ALL | 1PC | 0USN37 | KCHST60.16 | 738257
22a | PAN SUPPORT /BACK | ALL | 1PC | 0USDEL | KCHST60.16 | 738257
23 | STANDARD PAN | ALL | 16PCS | N/A | KCHST60.16 | 738257
24 | PAN SUPPORT /LEFT/RIGHT | ALL | 2PCS | 0USN29 | KCHST60.16 | 738257
25 | PAN SUPPORT | ALL | 7PCS | 0USJ33 | KCHST60.16 | 738257
26 | HANDLE OF COVER | ALL | 1PC | 0USH09 | KCHST60.16 | 738257
27 | MOVING COVER | ALL | 1PC | 0USN38 | KCHST60.16 | 738257
27a | MOVING COVER LINER | ALL | 1PC | 0USN39 | KCHST60.16 | 738257
28 | FIXED COVER | ALL | 1PC | 0USN40 | KCHST60.16 | 738257
28a | FIXED COVER LINER | ALL | 1PC | 0USN41 | KCHST60.16 | 738257
29 | CONDENSER | <02921276 | 1PC | 0USF34 | KCHST60.16 | 738257
|  | ≥02921276 | 1PC | 0USO57 | KCHST60.16 | 738257
30 | FILTER DRIER | ALL | 1PC | 0USG66 | KCHST60.16 | 738257
31 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHST60.16 | 738257
32 | CAPILLARY | ALL | 1PC | 0USM13 | KCHST60.16 | 738257
33 | CONDENSER FAN | <53220001 | 1PC | 0USF40 | KCHST60.16 | 738257
|  | ≥53220001 | 1PC | 0USO98 | KCHST60.16 | 738257
33a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHST60.16 | 738257
34 | BASKET GUARD GRILLS | ALL | 1PC | 0USDIJ | KCHST60.16 | 738257
35 | EVAPORATE PIPE | <92010021 | 1PC | 0USG14 | KCHST60.16 | 738257
|  | ≥92010021 | 1PC | 0USP41 | KCHST60.16 | 738257
36 | WATER BOX | ALL | 1PC | 0USI29 | KCHST60.16 | 738257
37 | COMPRESSOR | ALL | 1PC | 0USF28 | KCHST60.16 | 738257
37a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF5 | KCHST60.16 | 738257
38 | SUCTION PIPE | ALL | 1PC | 0USH80 | KCHST60.16 | 738257
39 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHST60.16 | 738257
40 | CABLE CONNECTOR | ALL | 1PC | 0USF09 | KCHST60.16 | 738257
41 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHST60.16 | 738257
42 | GUIDE OF UNIT BOARD/LEFT | <02921276 | 1PC | 0USK50 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
42a | GUIDE OF UNIT BOARD/RIGHT | <02921276 | 1PC | 0USK49 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
43 | UNIT BOARD | <02921276 | 1PC | 0USK32 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
45 | CIRCLE FAN | ALL | 3PCS | 0USF14 | KCHST60.16 | 738257
46 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USK03 | KCHST60.16 | 738257
47 | EVAPORATOR | ALL | 1PC | 0USG30 | KCHST60.16 | 738257
47a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHST60.16 | 738257
48 | EVAPORATOR WATER PAN | ALL | 1PC | 0USG55 | KCHST60.16 | 738257
49 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHST60.16 | 738257
50 | EVAPORATOR COVER | ALL | 1PC | 0USK02 | KCHST60.16 | 738257
52 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHST60.16 | 738257
53 | SHELF SUPPORT B | ALL | 4PCS | 0USI66 | KCHST60.16 | 738257
53a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHST60.16 | 738257
54 | SHELF | ALL | 2PCS | 0USC0K | KCHST60.16 | 738257
55 | SHELF SUPPORT A | ALL | 4PCS | 0USI44 | KCHST60.16 | 738257
55a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHST60.16 | 738257
56 | K SHAPE CLIP | ALL | 8PCS | 0USH19 | KCHST60.16 | 738257
57 | UP HINGE/LEFT | ALL | 1PC | 0USI16 | KCHST60.16 | 738257
58 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHST60.16 | 738257
59 | BUSHING | ALL | 2PCS | 096268 | KCHST60.16 | 738257
60 | GASKET | ALL | 2PCS | 0USG95 | KCHST60.16 | 738257
61 | DOOR/LEFT | ALL | 1PC | 0USF67 | KCHST60.16 | 738257
62 | DOOR SPRING HINGE | ALL | 2PCS | 0USF83 | KCHST60.16 | 738257
63 | CONDUCT BOARD | ALL | 1PC | 0USK04 | KCHST60.16 | 738257
63a | CONDUCT BOARD SIDE PLATE | ALL | 2PCS | 0USL32 | KCHST60.16 | 738257
64 | Door /Right | ALL | 1PC | 0USF69 | KCHST60.16 | 738257
65 | LOWER DOOR HINGE/LEFT | ALL | 1PC | 0USF80 | KCHST60.16 | 738257
66 | MIDDLE GIRDER | ALL | 1PC | 0USC6D | KCHST60.16 | 738257
67 | MIDDLE GIRDER FIXER | ALL | 2PCS | 0USH59 | KCHST60.16 | 738257
68 | FIXED BOLT | ALL | 2PCS | 0USG67 | KCHST60.16 | 738257
69 | FIXED NUT | ALL | 2PCS | 0USG73 | KCHST60.16 | 738257
70 | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHST60.16 | 738257
71 | DRAIN PIPE(A INT) | ALL | 1PC | 096263 | KCHST60.16 | 738257
72 | DRAIN PIPE(B EXT) | ALL | 1PC | 0USG04 | KCHST60.16 | 738257
73 | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHST60.16 | 738257
74 | MOVING COVER SUPPORT | ALL | 2PCS | 0USP60 | KCHST60.16 | 738257
75 | Unit Room Cover - Bottom | < 9052500 | 0PC | N/A | KCHST60.16 | 738257
|  | ≥ 9052500 | 1PC | 0USFAI | KCHST60.16 | 738257

## PARTS LIST - SPANISH
[5 empty] | Modelo: | KCHST60.16
[5 empty] | PNC: | 738257
Lista de repuestos |  |  |  |  | REV: | 2026-06-26
NO | DESCRIPCIÓN | de serie # | QTY | COMPONENTE PNC | Número de modelo | Modelo PNC
1 | Placa de montaje del controlador | <54220032 | 1PC | 0USDIF | KCHST60.16 | 738257
| Placa de montaje del controlador (con caja de acero) | ≥54220032 | 1PC | 0USO91 | KCHST60.16 | 738257
2 | CONTROLADOR DE TEMPERATURA | <01021133 | 1PC | 0USF42 | KCHST60.16 | 738257
|  | ≥01021133 | 1PC | 0USDET | KCHST60.16 | 738257
9 | RUEDA CON FRENO | TODO | 2PCS | 0USF03 | KCHST60.16 | 738257
10 | SOPORTE FRONTAL DE PLACA DE UNIÓN | TODO | 1PC | 0USJ61 | KCHST60.16 | 738257
11 | RUEDA NORMAL | TODO | 2PCS | 0USH63 | KCHST60.16 | 738257
11a | Perno de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC2U | KCHST60.16 | 738257
11b | Arandela de seguridad de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC4A | KCHST60.16 | 738257
11c | Arandela plana de montaje de rueda (PAQUETE DE 4) | TODO | 4PC | 0USC2X | KCHST60.16 | 738257
12 | SOPORTE POSTERIOR DE PLACA DE UNIÓN | TODO | 1PC | 0USJ62 | KCHST60.16 | 738257
13 | BISAGRA DE PUERTA INFERIOR/DERECHA | TODO | 1PC | 0USF81 | KCHST60.16 | 738257
14 | CUERPO | TODO | 1PC | N/A | KCHST60.16 | 738257
15 | CLIP SUPERIOR | TODO | 4PCS | 0USL80 | KCHST60.16 | 738257
16 | CUBIERTA DE SALA DE UNIDAD | TODO | 1PC | 0USI10 | KCHST60.16 | 738257
17 | TAPÓN | TODO | 1PC | 0USH67 | KCHST60.16 | 738257
18 | MANDO DE UBICACIÓN | TODO | 2PCS | 0USH46 | KCHST60.16 | 738257
19 | CLIP FIJO DE TABLA DE CORTAR | TODO | 2PCS | 0USG69 | KCHST60.16 | 738257
20 | PARTE SUPERIOR | TODO | 1PC | 0USN35 | KCHST60.16 | 738257
21 | TABLA DE CORTAR | TODO | 1PC | 0USN36 | KCHST60.16 | 738257
22 | SOPORTE DE RECIPIENTE /DELANTERO | TODO | 1PC | 0USN37 | KCHST60.16 | 738257
22a | SOPORTE DE RECIPIENTE/TRASERO | TODO | 1PC | 0USDEL | KCHST60.16 | 738257
23 | RECIPIENTE ESTÁNDAR | TODO | 16PCS | N/A | KCHST60.16 | 738257
24 | SOPORTE DE RECIPIENTE /IZQUIERDO/DERECHO | TODO | 2PCS | 0USN29 | KCHST60.16 | 738257
25 | SOPORTE DE RECIPIENTE | TODO | 7PCS | 0USJ33 | KCHST60.16 | 738257
26 | ASA DE LA TAPA | TODO | 1PC | 0USH09 | KCHST60.16 | 738257
27 | CUBIERTA MÓVIL | TODO | 1PC | 0USN38 | KCHST60.16 | 738257
27a | REVESTIMIENTO DE CUBIERTA MÓVIL | TODO | 1PC | 0USN39 | KCHST60.16 | 738257
28 | CUBIERTA FIJA | TODO | 1PC | 0USN40 | KCHST60.16 | 738257
28a | REVESTIMIENTO DE CUBIERTA FIJA | TODO | 1PC | 0USN41 | KCHST60.16 | 738257
29 | CONDENSADOR | <02921276 | 1PC | 0USF34 | KCHST60.16 | 738257
|  | ≥02921276 | 1PC | 0USO57 | KCHST60.16 | 738257
30 | SECADOR DE FILTROS | TODO | 1PC | 0USG66 | KCHST60.16 | 738257
31 | SOPORTE DE SECADOR | TODO | 1PC | 0USI78 | KCHST60.16 | 738257
32 | CAPILAR | TODO | 1PC | 0USM13 | KCHST60.16 | 738257
33 | VENTILADOR DEL CONDENSADOR | <53220001 | 1PC | 0USF40 | KCHST60.16 | 738257
|  | ≥53220001 | 1PC | 0USO98 | KCHST60.16 | 738257
33a | PALA DEL VENTILADOR DEL CONDENSADOR | TODO | 1PC | 0USC4J | KCHST60.16 | 738257
34 | REJILLAS PROTECTORAS DE CESTOS | TODO | 1PC | 0USDIJ | KCHST60.16 | 738257
35 | TUBO DE EVAPORACIÓN | <92010021 | 1PC | 0USG14 | KCHST60.16 | 738257
|  | ≥92010021 | 1PC | 0USP41 | KCHST60.16 | 738257
36 | CAJA DE AGUA | TODO | 1PC | 0USI29 | KCHST60.16 | 738257
37 | COMPRESOR | TODO | 1PC | 0USF28 | KCHST60.16 | 738257
37a | JUEGO DE COMPONENTES ELÉCTRICOS DEL COMPRESOR | TODO | 1PC | 0USDF5 | KCHST60.16 | 738257
38 | TUBO DE ASPIRACIÓN | TODO | 1PC | 0USH80 | KCHST60.16 | 738257
39 | SOPORTE DEL CONECTOR | TODO | 1PC | 0USDEE | KCHST60.16 | 738257
40 | CONECTOR DE CABLE | TODO | 1PC | 0USF09 | KCHST60.16 | 738257
41 | CUBIERTA DEL CONECTOR | TODO | 1PC | 0USJ98 | KCHST60.16 | 738257
42 | GUÍA DE PLACA DE UNIÓN/IZQUIERDA | <02921276 | 1PC | 0USK50 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
42a | GUÍA DE PLACA DE UNIÓN/DERECHA | <02921276 | 1PC | 0USK49 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
43 | PLACA DE UNIÓN | <02921276 | 1PC | 0USK32 | KCHST60.16 | 738257
|  | ≥02921276 | 0PC | N/A | KCHST60.16 | 738257
45 | VENTILADOR CIRCULAR | TODO | 3PCS | 0USF14 | KCHST60.16 | 738257
46 | SOPORTE DEL VENTILADOR CIRCULAR | TODO | 1PC | 0USK03 | KCHST60.16 | 738257
47 | EVAPORADOR | TODO | 1PC | 0USG30 | KCHST60.16 | 738257
47a | Sonda del sensor de temperatura del evaporador | TODO | 1PC | 0USC6R | KCHST60.16 | 738257
48 | RECIPIENTE DE AGUA DEL EVAPORADOR | TODO | 1PC | 0USG55 | KCHST60.16 | 738257
49 | SOPORTE FIJO DE CUBIERTA DEL EVAPORADOR | TODO | 2PCS | 0USK05 | KCHST60.16 | 738257
50 | TAPA DEL EVAPORADOR | TODO | 1PC | 0USK02 | KCHST60.16 | 738257
52 | CLIP FIJO DE SENSOR | TODO | 1PC | 0USM10 | KCHST60.16 | 738257
53 | SOPORTE DE ESTANTE B | TODO | 4PCS | 0USI66 | KCHST60.16 | 738257
53a | Tornillo de soporte de estante | TODO | 8PCS | 0USM14 | KCHST60.16 | 738257
54 | ESTANTE | TODO | 2PCS | 0USC0K | KCHST60.16 | 738257
55 | SOPORTE DE ESTANTE A | TODO | 4PCS | 0USI44 | KCHST60.16 | 738257
55a | Tornillo de soporte de estante | TODO | 12PCS | 0USM14 | KCHST60.16 | 738257
56 | CLIP EN FORMA DE K | TODO | 8PCS | 0USH19 | KCHST60.16 | 738257
57 | BISAGRA SUPERIOR/IZQUIERDA | TODO | 1PC | 0USI16 | KCHST60.16 | 738257
58 | BISAGRA SUPERIOR /DERECHA | TODO | 1PC | 0USI17 | KCHST60.16 | 738257
59 | CASQUILLO | TODO | 2PCS | 096268 | KCHST60.16 | 738257
60 | JUNTA | TODO | 2PCS | 0USG95 | KCHST60.16 | 738257
61 | PUERTA/IZQUIERDA | TODO | 1PC | 0USF67 | KCHST60.16 | 738257
62 | BISAGRA DE RESORTE DE PUERTA | TODO | 2PCS | 0USF83 | KCHST60.16 | 738257
63 | PLACA DE CONDUCTO | TODO | 1PC | 0USK04 | KCHST60.16 | 738257
63a | PLACA LATERAL DE CONDUCTO | TODO | 2PCS | 0USL32 | KCHST60.16 | 738257
64 | Puerta /derecha | TODO | 1PC | 0USF69 | KCHST60.16 | 738257
65 | BISAGRA DE PUERTA INFERIOR/IZQUIERDA | TODO | 1PC | 0USF80 | KCHST60.16 | 738257
66 | VIGUETA INTERMEDIA | TODO | 1PC | 0USC6D | KCHST60.16 | 738257
67 | FIJADOR DE VIGUETA INTERMEDIA | TODO | 2PCS | 0USH59 | KCHST60.16 | 738257
68 | PERNO FIJO | TODO | 2PCS | 0USG67 | KCHST60.16 | 738257
69 | TUERCA FIJA | TODO | 2PCS | 0USG73 | KCHST60.16 | 738257
70 | Sonda interior de temperatura de unidad horizontal | TODO | 1PC | 0USC4C | KCHST60.16 | 738257
71 | TUBO DE DESCARGA (A INT.) | TODO | 1PC | 096263 | KCHST60.16 | 738257
72 | TUBO DE DESCARGA (B EXT.) | TODO | 1PC | 0USG04 | KCHST60.16 | 738257
73 | TUBO DE DESCARGA | TODO | 1PC | 0USM54 | KCHST60.16 | 738257
74 | Soporte de cubierta móvil | TODO | 2PCS | 0USP60 | KCHST60.16 | 738257
75 | Cubierta de sala de unidad - inferior | < 9052500 | 0PC | N/A | KCHST60.16 | 738257
|  | ≥ 9052500 | 1PC | 0USFAI | KCHST60.16 | 738257