## PARTS LIST
[5 empty] | Model: | KCHUC27R
[5 empty] | PNC: | 738263
Spare Parts List |  |  |  |  | REV: | 2024-04-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | DOOR SPRING HINGE | ALL | 1PC | 0USF83 | KCHUC27R | 738263
2 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUC27R | 738263
3 | Front Support Of Unit Board | ALL | 1PC | 0USJ57 | KCHUC27R | 738263
4 | Back Support Of Unit Board | ALL | 1PC | 0USJ58 | KCHUC27R | 738263
5 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUC27R | 738263
5a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUC27R | 738263
5b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUC27R | 738263
5c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUC27R | 738263
7 | TEMPERATURE CONTROLLER | <00521023 | 1PC | 0USF42 | KCHUC27R | 738263
|  | ≥00521023 | 1PC | 0USDET | KCHUC27R | 738263
7a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHUC27R | 738263
7b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUC27R | 738263
10 | CABLE COVER | ALL | 1PC | 0USK07 | KCHUC27R | 738263
11 | Down Hinge/Right | ALL | 1PC | 0USF81 | KCHUC27R | 738263
12 | Body | ALL | 1PC | N/A | KCHUC27R | 738263
13 | Unit Room Cover | ALL | 1PC | 0USI13 | KCHUC27R | 738263
14 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUC27R | 738263
16 | Evaporator Cover | ALL | 1PC | 0USO12 | KCHUC27R | 738263
17 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUC27R | 738263
18 | Evaporator Water Pan | ALL | 1PC | 0USG58 | KCHUC27R | 738263
19 | Evaporator | ALL | 1PC | 0USG35 | KCHUC27R | 738263
19a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHUC27R | 738263
20 | Circle Fan Support | ALL | 1PC | 0USK34 | KCHUC27R | 738263
21 | Circle Fan | ALL | 1PC | 096250 | KCHUC27R | 738263
22 | PLUG | ALL | 1PC | 0USH67 | KCHUC27R | 738263
23 | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHUC27R | 738263
24 | Top | ALL | 1PC | 0USL07 | KCHUC27R | 738263
25 | TOP CLIP | ALL | 2PCS | 0USL80 | KCHUC27R | 738263
26 | Condenser | ALL | 1PC | 0USF38 | KCHUC27R | 738263
27 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUC27R | 738263
27a | CAPILLARY | ALL | 1PC | 0USL57 | KCHUC27R | 738263
28 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHUC27R | 738263
29 | Condenser Fan Board | ALL | 1PC | 0USK25 | KCHUC27R | 738263
30 | Condenser Fan | ALL | 1PC | 0USF14 | KCHUC27R | 738263
31 | Evaporate Pipe | ALL | 1PC | 0USG19 | KCHUC27R | 738263
32 | WATER BOX | ALL | 1PC | 0USI34 | KCHUC27R | 738263
33 | Compressor | ALL | 1PC | 0USF24 | KCHUC27R | 738263
33a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF1 | KCHUC27R | 738263
34 | Suction Pipe | ALL | 1PC | 0USO14 | KCHUC27R | 738263
35 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUC27R | 738263
36 | Cable Connector | ALL | 1PC | 0USF09 | KCHUC27R | 738263
37 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUC27R | 738263
39 | UNIT BOARD | ALL | 1PC | 0USK24 | KCHUC27R | 738263
40 | SHELF SUPPORT B | ALL | 2PCS | 0USI66 | KCHUC27R | 738263
40a | Shelf Support Screw | ALL | 4PCS | 0USM14 | KCHUC27R | 738263
41 | Shelf | ALL | 1PC | 0USC0V | KCHUC27R | 738263
42 | SHELF SUPPORT A | ALL | 2PCS | 0USI44 | KCHUC27R | 738263
42a | Shelf Support Screw | ALL | 6PCS | 0USM14 | KCHUC27R | 738263
43 | K Shape Clip | ALL | 4PCS | 0USH19 | KCHUC27R | 738263
44 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHUC27R | 738263
45 | BUSHING | ALL | 1PC | 096268 | KCHUC27R | 738263
46 | Gasket | ALL | 1PC | 0USG99 | KCHUC27R | 738263
47 | Door | ALL | 1PC | 0USF62 | KCHUC27R | 738263
48 | DOOR SWITCH | ALL | 1PC | 096253 | KCHUC27R | 738263
49 | Door Switch Case | ALL | 1PC | 0USF88 | KCHUC27R | 738263
50 | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHUC27R | 738263
51 | DRAIN PIPE(A INT) | ALL | 1PC | 0USG04 | KCHUC27R | 738263
51a | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUC27R | 738263
51b | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUC27R | 738263
52 | Transformer | ALL | 1PC | 096252 | KCHUC27R | 738263