## PARTS LIST
[5 empty] | Model: | KCHUC48R
[5 empty] | PNC: | 738264
Spare Parts List |  |  |  |  | REV: | 2024-04-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
2 | TEMPERATURE CONTROLLER | <01021226 | 1PC | 0USF42 | KCHUC48R | 738264
|  | ≥01021226 | 1PC | 0USDET | KCHUC48R | 738264
2a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHUC48R | 738264
2b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUC48R | 738264
5 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUC48R | 738264
7 | Evaporator Cover | ALL | 1PC | 0USL36 | KCHUC48R | 738264
8 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUC48R | 738264
9 | Evaporator Water Pan | ALL | 1PC | 0USG60 | KCHUC48R | 738264
10 | Evaporator | ALL | 1PC | 0USG37 | KCHUC48R | 738264
10a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHUC48R | 738264
11 | Circle Fan Support | ALL | 1PC | 0USK35 | KCHUC48R | 738264
12 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUC48R | 738264
13 | Circle Fan | ALL | 1PC | 096250 | KCHUC48R | 738264
14 | Lower Door Hinge/Right | ALL | 1PC | 0USF81 | KCHUC48R | 738264
15 | Body | ALL | 1PC | N/A | KCHUC48R | 738264
16 | Top Clip | ALL | 2PCS | 0USL80 | KCHUC48R | 738264
17 | Unit Room Cover | ALL | 1PC | 0USI14 | KCHUC48R | 738264
18 | PLUG | ALL | 1PC | 0USH67 | KCHUC48R | 738264
19 | Location Knob | ALL | 2PCS | 0USH46 | KCHUC48R | 738264
20 | Top | ALL | 1PC | 0USI01 | KCHUC48R | 738264
21 | Condenser | ALL | 1PC | 0USF38 | KCHUC48R | 738264
22 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUC48R | 738264
22a | CAPILLARY | ALL | 1PC | 0USM33 | KCHUC48R | 738264
23 | Condenser Fan Board | ALL | 1PC | 0USK25 | KCHUC48R | 738264
24 | Condenser Fan | ALL | 1PC | 0USF14 | KCHUC48R | 738264
25 | Evaporate Pipe | ALL | 1PC | 0USG20 | KCHUC48R | 738264
26 | WATER BOX | ALL | 1PC | 0USI35 | KCHUC48R | 738264
27 | Compressor | ALL | 1PC | 0USF25 | KCHUC48R | 738264
27a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF2 | KCHUC48R | 738264
28 | Suction Pipe | ALL | 1PC | 0USO26 | KCHUC48R | 738264
29 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUC48R | 738264
30 | Cable Connector | ALL | 1PC | 0USF09 | KCHUC48R | 738264
31 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUC48R | 738264
33 | GUIDE OF UNIT BOARD/LEFT | ALL | 1PC | 0USK50 | KCHUC48R | 738264
34 | UNIT BOARD | ALL | 1PC | 0USK32 | KCHUC48R | 738264
35 | SHELF SUPPORT B | ALL | 4PCS | 0USI66 | KCHUC48R | 738264
35a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHUC48R | 738264
36 | Shelf | ALL | 2PCS | 0USC0M | KCHUC48R | 738264
37 | SHELF SUPPORT A | ALL | 4PCS | 0USI44 | KCHUC48R | 738264
37a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHUC48R | 738264
38 | K Shape Clip | ALL | 8PCS | 0USH19 | KCHUC48R | 738264
39 | Up Hinge/Left | ALL | 1PC | 0USI16 | KCHUC48R | 738264
40 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHUC48R | 738264
41 | BUSHING | ALL | 2PCS | 096268 | KCHUC48R | 738264
42 | GASKET | ALL | 2PCS | 0USH00 | KCHUC48R | 738264
43 | DOOR/LEFT | ALL | 1PC | 0USM97 | KCHUC48R | 738264
44 | DOOR SPRING HINGE | ALL | 2PCS | 0USF83 | KCHUC48R | 738264
45 | RIGHT DOOR | ALL | 1PC | 0USM98 | KCHUC48R | 738264
46 | DOOR SWITCH | ALL | 2PCS | 096253 | KCHUC48R | 738264
47 | Door Switch Case | ALL | 2PCS | 0USF88 | KCHUC48R | 738264
48 | CABLE COVER | ALL | 1 PC | 0USK07 | KCHUC48R | 738264
49 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUC48R | 738264
49a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUC48R | 738264
49b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUC48R | 738264
49c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUC48R | 738264
50 | FRONT SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ59 | KCHUC48R | 738264
51 | BACK SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ60 | KCHUC48R | 738264
52 | Lower Door Hinge/Left | ALL | 1PC | 0USF80 | KCHUC48R | 738264
53 | GUIDE OF UNIT BOARD/RIGHT | ALL | 1PC | 0USK49 | KCHUC48R | 738264
54 | DRIER SUPPORT | ALL | 1 PC | 0USI78 | KCHUC48R | 738264
55 | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHUC48R | 738264
56 | DRAIN PIPE(A INT) | ALL | 1PC | 0USG04 | KCHUC48R | 738264
56a | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUC48R | 738264
56b | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUC48R | 738264
57 | Middle Girder | ALL | 1PC | 0USH56 | KCHUC48R | 738264
58 | Middle Girder Fixer | ALL | 2PCS | 0USH59 | KCHUC48R | 738264
59 | Transformer | ALL | 1PC | 096252 | KCHUC48R | 738264