## PARTS LIST
[5 empty] | Model: | KCHUC27F
[5 empty] | PNC: | 738265
Spare Parts List |  |  |  |  | REV: | 2024-07-11
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | DOOR SPRING HINGE | ALL | 1PC | 0USF83 | KCHUC27F | 738265
2 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUC27F | 738265
3 | Front Support Of Unit Board | ALL | 1PC | 0USJ57 | KCHUC27F | 738265
4 | Back Support Of Unit Board | ALL | 1PC | 0USJ58 | KCHUC27F | 738265
5 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUC27F | 738265
5a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUC27F | 738265
5b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUC27F | 738265
5c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUC27F | 738265
6 | DOOR SWITCH | ALL | 1PC | 096253 | KCHUC27F | 738265
7 | Door Switch Case | ALL | 1PC | 0USF88 | KCHUC27F | 738265
10 | TEMPERATURE CONTROLLER | <03021300 | 1PC | 0USH92 | KCHUC27F | 738265
|  | ≥03021300 | 1PC | 0USDES | KCHUC27F | 738265
10a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4F | KCHUC27F | 738265
10b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUC27F | 738265
13 | CABLE COVER | ALL | 1PC | 0USK07 | KCHUC27F | 738265
14 | Lower Door Hinge/Right | ALL | 1PC | 0USF81 | KCHUC27F | 738265
15 | Body | ALL | 1PC | N/A | KCHUC27F | 738265
16 | Unit Room Cover | ALL | 1PC | 0USI13 | KCHUC27F | 738265
17 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUC27F | 738265
19 | Evaporator Cover | ALL | 1PC | 0USO13 | KCHUC27F | 738265
20 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUC27F | 738265
21 | Evaporator Water Pan | ALL | 1PC | 0USG57 | KCHUC27F | 738265
21a | DRAIN PIPE(A INT) | ALL | 1PC | 096263 | KCHUC27F | 738265
21b | DRAIN PIPE(B EXT) | ALL | 1PC | 0USG04 | KCHUC27F | 738265
21c | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUC27F | 738265
21d | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUC27F | 738265
22 | Protector For Heating Element | ALL | 1PC | 0USH71 | KCHUC27F | 738265
23 | Defrost Heating Element | ALL | 1PC | 0USF55 | KCHUC27F | 738265
24 | Evaporator | ALL | 1PC | 0USG34 | KCHUC27F | 738265
24a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6U | KCHUC27F | 738265
25 | Circle Fan Support | ALL | 1PC | 0USK34 | KCHUC27F | 738265
26 | Circle Fan | ALL | 1PC | 096250 | KCHUC27F | 738265
27 | PLUG | ALL | 1PC | 0USH67 | KCHUC27F | 738265
28 | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHUC27F | 738265
29 | Top | ALL | 1PC | 0USL07 | KCHUC27F | 738265
30 | Top Clip | ALL | 2PCS | 0USL80 | KCHUC27F | 738265
31 | Condenser | ALL | 1PC | 0USF37 | KCHUC27F | 738265
32 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUC27F | 738265
32a | CAPILLARY | ALL | 1PC | 0USL58 | KCHUC27F | 738265
33 | DRIER SUPPORT | ALL | 1 PC | 0USI78 | KCHUC27F | 738265
34 | CONDENSER FAN | ALL | 1PC | 0USF40 | KCHUC27F | 738265
34a | CONDENSER FAN BLADE | ALL | 1PC | 0USI52 | KCHUC27F | 738265
35 | BASKET GUARD GRILLS | ALL | 1PC | 0USI81 | KCHUC27F | 738265
36 | Evaporate Pipe | ALL | 1PC | 0USG13 | KCHUC27F | 738265
37 | WATER BOX | ALL | 1PC | 0USI34 | KCHUC27F | 738265
38 | Compressor | ALL | 1PC | 0USF31 | KCHUC27F | 738265
38a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF7 | KCHUC27F | 738265
39 | Suction Pipe | ALL | 1PC | 0USO15 | KCHUC27F | 738265
40 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUC27F | 738265
41 | Cable Connector | ALL | 1PC | 0USF09 | KCHUC27F | 738265
42 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUC27F | 738265
43 | UNIT BOARD | ALL | 1PC | 0USK24 | KCHUC27F | 738265
44 | SHELF SUPPORT B | ALL | 2PCS | 0USI66 | KCHUC27F | 738265
44a | Shelf Support Screw | ALL | 4PCS | 0USM14 | KCHUC27F | 738265
45 | Shelf | ALL | 1PC | 0USC0V | KCHUC27F | 738265
46 | SHELF SUPPORT A | ALL | 2PCS | 0USI44 | KCHUC27F | 738265
46a | Shelf Support Screw | ALL | 6PCS | 0USM14 | KCHUC27F | 738265
47 | K Shape Clip | ALL | 4PCS | 0USH19 | KCHUC27F | 738265
48 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHUC27F | 738265
49 | BUSHING | ALL | 1PC | 096268 | KCHUC27F | 738265
50 | Gasket | ALL | 1PC | 0USG99 | KCHUC27F | 738265
51 | Door | ALL | 1PC | 0USF62 | KCHUC27F | 738265
52 | Transformer | ALL | 1PC | 096252 | KCHUC27F | 738265
53 | Unit Room Cover - Bottom | <9053044 |  | N/A | KCHUC27F | 738265
|  | ≥9053044 | 1PC | 0USFAF | KCHUC27F | 738265