## PARTS LIST
[5 empty] | Model: | KCHUC48F
[5 empty] | PNC: | 738266
Spare Parts List |  |  |  |  | REV: | 2024-04-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
3 | Temperature Controller | <03021184 | 1PC | 0USH92 | KCHUC48F | 738266
|  | ≥03021184 | 1PC | 0USDES | KCHUC48F | 738266
3a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4F | KCHUC48F | 738266
3b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUC48F | 738266
5 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUC48F | 738266
7 | Evaporator Cover | ALL | 1PC | 0USK10 | KCHUC48F | 738266
8 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUC48F | 738266
9 | EVAPORATOR WATER PAN | ALL | 1PC | 0USG59 | KCHUC48F | 738266
9a | DRAIN PIPE(A INT) | ALL | 1PC | 0USG04 | KCHUC48F | 738266
9b | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHUC48F | 738266
9c | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUC48F | 738266
9d | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUC48F | 738266
10 | Protector For Heating Element | ALL | 1PC | 0USH71 | KCHUC48F | 738266
11 | Defrost Heating Element | ALL | 1PC | 0USF56 | KCHUC48F | 738266
12 | Evaporator | ALL | 1PC | 0USG36 | KCHUC48F | 738266
12a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6U | KCHUC48F | 738266
13 | Circle Fan Support | ALL | 1PC | 0USK33 | KCHUC48F | 738266
14 | Circle Fan | ALL | 2PCS | 096250 | KCHUC48F | 738266
15 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUC48F | 738266
16 | Lower Door Hinge/Right | ALL | 1PC | 0USF81 | KCHUC48F | 738266
17 | Body | ALL | 1PC | N/A | KCHUC48F | 738266
18 | Top Clip | ALL | 2PCS | 0USL80 | KCHUC48F | 738266
19 | Unit Room Cover | ALL | 1PC | 0USI14 | KCHUC48F | 738266
20 | PLUG | ALL | 1PC | 0USH67 | KCHUC48F | 738266
21 | Location Knob | ALL | 2PCS | 0USH46 | KCHUC48F | 738266
22 | Top | ALL | 1PC | 0USI01 | KCHUC48F | 738266
23 | Condenser | ALL | 1PC | 0USF34 | KCHUC48F | 738266
24 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUC48F | 738266
24a | CAPILLARY | ALL | 1PC | 0USL77 | KCHUC48F | 738266
25 | CONDENSER FAN | ALL | 1PC | 0USF40 | KCHUC48F | 738266
25a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHUC48F | 738266
26 | Basket Guard Grills | ALL | 1PC | 0USDIJ | KCHUC48F | 738266
27 | EVAPORATE PIPE | ALL | 1PC | 0USG14 | KCHUC48F | 738266
28 | WATER BOX | ALL | 1PC | 0USI35 | KCHUC48F | 738266
29 | COMPRESSOR | ALL | 1PC | 0USF28 | KCHUC48F | 738266
29a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF5 | KCHUC48F | 738266
30 | Suction Pipe | ALL | 1PC | 0USO27 | KCHUC48F | 738266
31 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUC48F | 738266
32 | Cable Connector | ALL | 1PC | 0USF09 | KCHUC48F | 738266
33 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUC48F | 738266
34 | GUIDE OF UNIT BOARD/LEFT | ALL | 1PC | 0USK50 | KCHUC48F | 738266
35 | UNIT BOARD | ALL | 1PC | 0USK32 | KCHUC48F | 738266
36 | SHELF SUPPORT B | ALL | 4PCS | 0USI66 | KCHUC48F | 738266
36a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHUC48F | 738266
37 | Shelf | ALL | 2PCS | 0USC0M | KCHUC48F | 738266
38 | SHELF SUPPORT A | ALL | 4PCS | 0USI44 | KCHUC48F | 738266
38a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHUC48F | 738266
39 | K Shape Clip | ALL | 8PCS | 0USH19 | KCHUC48F | 738266
40 | Up Hinge/Left | ALL | 1PC | 0USI16 | KCHUC48F | 738266
41 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHUC48F | 738266
42 | BUSHING | ALL | 2PCS | 096268 | KCHUC48F | 738266
43 | DOOR SPRING HINGE | ALL | 2PCS | 0USF83 | KCHUC48F | 738266
44 | DOOR/LEFT | ALL | 1PC | 0USM97 | KCHUC48F | 738266
45 | GASKET | ALL | 2PCS | 0USH00 | KCHUC48F | 738266
46 | RIGHT DOOR | ALL | 1PC | 0USM98 | KCHUC48F | 738266
47 | DOOR SWITCH | ALL | 2PCS | 096253 | KCHUC48F | 738266
48 | Door Switch Case | ALL | 2PCS | 0USF88 | KCHUC48F | 738266
50 | CABLE COVER | ALL | 1PC | 0USK07 | KCHUC48F | 738266
51 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUC48F | 738266
51a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUC48F | 738266
51b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUC48F | 738266
51c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUC48F | 738266
52 | FRONT SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ59 | KCHUC48F | 738266
53 | BACK SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ60 | KCHUC48F | 738266
54 | Lower Door Hinge/Left | ALL | 1PC | 0USF80 | KCHUC48F | 738266
55 | GUIDE OF UNIT BOARD/RIGHT | ALL | 1PC | 0USK49 | KCHUC48F | 738266
56 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHUC48F | 738266
57 | Middle Girder | ALL | 1PC | 0USC6C | KCHUC48F | 738266
58 | Middle Girder Fixer | ALL | 2PCS | 0USH59 | KCHUC48F | 738266
59 | Transformer | ALL | 1PC | 096252 | KCHUC48F | 738266