## PARTS LIST - ENGLISH
[5 empty] | Model: | KCHBB60S
[5 empty] | PNC: | 738270
Spare Parts List |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | TOP | ALL | 1PC | 0USM15 | KCHBB60S | 738270
2 | TOP FIXED CLIP | ALL | 4PCS | 0USL81 | KCHBB60S | 738270
3 | BODY | ALL | 1PC | N/A | KCHBB60S | 738270
4 | SUPPORT OF BODY | ALL | 1PC | 0USL52 | KCHBB60S | 738270
4a | BRAKE WHEEL | ALL | 3PCS | 0USF04 | KCHBB60S | 738270
4b | NORMAL WHEEL | ALL | 3PCS | 0USH64 | KCHBB60S | 738270
4c | Castor Mounting Bolt (4-PACK) | ALL | 4PCS | 0USC2T | KCHBB60S | 738270
4d | Castor Mounting Locking Washer (4-PACK) | ALL | 4PCS | 0USC2Z | KCHBB60S | 738270
4e | Castor Mounting Flat Washer (4-PACK) | ALL | 4PCS | 0USC2Y | KCHBB60S | 738270
6 | SHELF SUPPORT | ALL | 8PCS | 0USI65 | KCHBB60S | 738270
6a | Shelf Support Screw | ALL | 40PCS | 0USM14 | KCHBB60S | 738270
7 | SHELF L | ALL | 2PCS | 0USN10 | KCHBB60S | 738270
7a | SHELF R | ALL | 2PCS | 0USN11 | KCHBB60S | 738270
8 | K SHAPE CLIP | ALL | 16PCS | 0USH19 | KCHBB60S | 738270
9 | DOOR SPRING HINGE RIGHT | ALL | 1PC | 0USF83 | KCHBB60S | 738270
9a | DOOR SPRING HINGE LEFT | ALL | 1PC | 0USJ44 | KCHBB60S | 738270
10 | DOOR HINGE/DOWN | ALL | 2PCS | 0USI63 | KCHBB60S | 738270
11 | LEFT DOOR | ALL | 1PC | 0USJ09 | KCHBB60S | 738270
11a | RIGHT DOOR | ALL | 1PC | 0USJ10 | KCHBB60S | 738270
12 | GASKET | ALL | 2PCS | 0USI71 | KCHBB60S | 738270
13 | LOCK HOOK | ALL | 2PCS | 0USJ20 | KCHBB60S | 738270
14 | FRONT PANEL | ALL | 1PC | 0USJ23 | KCHBB60S | 738270
14a | Thermostat Protector Cover | ALL | 1PC | 0USC0B | KCHBB60S | 738270
14b | Thermostat Protector Screw (Black) | ALL | 1PC | 0USC0A | KCHBB60S | 738270
15 | Thermostat - Full Set | ALL | 1PC | 0USDAC | KCHBB60S | 738270
15a | Thermostat Contactor | ALL | 1PC | 0USI49 | KCHBB60S | 738270
15b | Thermostat Display | ALL | 1PC | 0USM12 | KCHBB60S | 738270
15c | Thermostat Components | ALL | 1PC | 0USL03 | KCHBB60S | 738270
15d | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4B | KCHBB60S | 738270
16 | ELECTRICAL EQUIPMENT FIXER | ALL | 1PC | 0USK39 | KCHBB60S | 738270
17 | LED POWER SUPPLY | ALL | 1PC | 0USH38 | KCHBB60S | 738270
19 | UPPER HINGE AXIS JACKET | ALL | 2PCS | 0USI67 | KCHBB60S | 738270
20 | DOOR HINGE/UP/LEFT | ALL | 1PC | 0USI62 | KCHBB60S | 738270
20a | DOOR HINGE/UP/RIGHT | ALL | 1PC | 0USL91 | KCHBB60S | 738270
21 | CAPILLARY | ALL | 1PC | 0USM13 | KCHBB60S | 738270
22 | CONDENSER | ALL | 1PC | 0USI91 | KCHBB60S | 738270
23 | CONDENSER FAN | ALL | 1PC | 0USI51 | KCHBB60S | 738270
24 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHBB60S | 738270
25 | FILTER DRIER | ALL | 1PC | 0USG66 | KCHBB60S | 738270
26 | UNIT ROOM COVER | ALL | 1PC | 0USJ22 | KCHBB60S | 738270
27 | UNIT ROOM COVER FIXER | ALL | 1PC | 0USK40 | KCHBB60S | 738270
28 | DISCHARGE PIPE | ALL | 1PC | 0USI95 | KCHBB60S | 738270
29 | WATER BOX | ALL | 1PC | 0USI48 | KCHBB60S | 738270
30 | SUCTION PIPE | ALL | 1PC | 0USI93 | KCHBB60S | 738270
31 | COMPRESSOR | ALL | 1PC | 0USF32 | KCHBB60S | 738270
31a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF8 | KCHBB60S | 738270
32 | UNIT ROOM GRILL | ALL | 1PC | 0USI83 | KCHBB60S | 738270
32a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHBB60S | 738270
33 | PLUG | ALL | 1PC | 0USI53 | KCHBB60S | 738270
34 | EVAPORATOR | <24020022 | 1PC | 0USJ16 | KCHBB60S | 738270
|  | ≥24020022 | 1PC | 0USO55 | KCHBB60S | 738270
34a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6Q | KCHBB60S | 738270
35 | FAN SUPPORT | ALL | 1PC | 0USK43 | KCHBB60S | 738270
36 | EVAPORATOR FAN BLADE | ALL | 1PC | 0USI52 | KCHBB60S | 738270
37 | EVAPORATOR FAN GRILL | ALL | 1PC | 0USI25 | KCHBB60S | 738270
38 | EVAPORATOR FAN MOTOR | ALL | 1PC | 0USF16 | KCHBB60S | 738270
39 | EVAPORATOR COVER | ALL | 1PC | 0USJ24 | KCHBB60S | 738270
40 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHBB60S | 738270
42 | DOOR SWITCH BOX | ALL | 2PC | 0USF88 | KCHBB60S | 738270
43 | DOOR SWITCH | ALL | 2PC | 0USI59 | KCHBB60S | 738270
44 | UNIT BOARD | ALL | 1PC | 0USK42 | KCHBB60S | 738270
45 | EVAPORATOR WATER PAN | ALL | 1PC | 0USJ21 | KCHBB60S | 738270
46 | AIR FLOW CONDUCT BOARD | ALL | 1PC | 0USK44 | KCHBB60S | 738270
47 | LAMP | ALL | 1PC | 0USI56 | KCHBB60S | 738270

## PARTS LIST - SPANISH
[5 empty] | Modelo: | KCHBB60S
[5 empty] | PNC: | 738270
Lista de repuestos |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPCIÓN | de serie # | QTY | COMPONENTE PNC | Número de modelo | Modelo PNC
1 | PARTE SUPERIOR | TODO | 1PC | 0USM15 | KCHBB60S | 738270
2 | CLIP SUPERIOR FIJO | TODO | 4PCS | 0USL81 | KCHBB60S | 738270
3 | CUERPO | TODO | 1PC | N/A | KCHBB60S | 738270
4 | SOPORTE DE CUERPO | TODO | 1PC | 0USL52 | KCHBB60S | 738270
4a | RUEDA CON FRENO | TODO | 3PCS | 0USF04 | KCHBB60S | 738270
4b | RUEDA NORMAL | TODO | 3PCS | 0USH64 | KCHBB60S | 738270
4c | Perno de montaje de rueda; (PAQUETE DE 4) | TODO | 4PCS | 0USC2T | KCHBB60S | 738270
4d | Arandela de seguridad de montaje de rueda; (PAQUETE DE 4) | TODO | 4PCS | 0USC2Z | KCHBB60S | 738270
4e | Arandela plana de montaje de rueda (PAQUETE DE 4) | TODO | 4PCS | 0USC2Y | KCHBB60S | 738270
6 | SOPORTE DE ESTANTE | TODO | 8PCS | 0USI65 | KCHBB60S | 738270
6a | Tornillo de soporte de estante | TODO | 40PCS | 0USM14 | KCHBB60S | 738270
7 | ESTANTE IZDO. | TODO | 2PCS | 0USN10 | KCHBB60S | 738270
7a | ESTANTE DCHO. | TODO | 2PCS | 0USN11 | KCHBB60S | 738270
8 | CLIP EN FORMA DE K | TODO | 16PCS | 0USH19 | KCHBB60S | 738270
9 | BISAGRA DERECHA DE RESORTE DE PUERTA | TODO | 1PC | 0USF83 | KCHBB60S | 738270
9a | BISAGRA IZQUIERDA DE RESORTE DE PUERTA | TODO | 1PC | 0USJ44 | KCHBB60S | 738270
10 | BISAGRA DE PUERTA/INFERIOR | TODO | 2PCS | 0USI63 | KCHBB60S | 738270
11 | PUERTA IZQUIERDA | TODO | 1PC | 0USJ09 | KCHBB60S | 738270
11a | PUERTA DERECHA | TODO | 1PC | 0USJ10 | KCHBB60S | 738270
12 | JUNTA | TODO | 2PCS | 0USI71 | KCHBB60S | 738270
13 | GANCHO DE CERRADURA | TODO | 2PCS | 0USJ20 | KCHBB60S | 738270
14 | PANEL DELANTERO | TODO | 1PC | 0USJ23 | KCHBB60S | 738270
14a | Tapa del protector del termostato | TODO | 1PC | 0USC0B | KCHBB60S | 738270
14b | Tornillo del protector del termostato (negro) | TODO | 1PC | 0USC0A | KCHBB60S | 738270
15 | Termostato - juego completo | TODO | 1PC | 0USDAC | KCHBB60S | 738270
15a | Contactor del termostato | TODO | 1PC | 0USI49 | KCHBB60S | 738270
15b | Pantalla del termostato | TODO | 1PC | 0USM12 | KCHBB60S | 738270
15c | Componentes de termostato | TODO | 1PC | 0USL03 | KCHBB60S | 738270
15d | Sonda interior de temperatura de unidad horizontal | TODO | 1PC | 0USC4B | KCHBB60S | 738270
16 | FIJADOR DE EQUIPAMIENTO ELÉCTRICO | TODO | 1PC | 0USK39 | KCHBB60S | 738270
17 | ALIMENTACIÓN DE LED | TODO | 1PC | 0USH38 | KCHBB60S | 738270
19 | CUBIERTA DE EJE DE BISAGRA SUPERIOR | TODO | 2PCS | 0USI67 | KCHBB60S | 738270
20 | BISAGRA DE PUERTA/SUPERIOR/IZQUIERDA | TODO | 1PC | 0USI62 | KCHBB60S | 738270
20a | BISAGRA DE PUERTA/SUPERIOR/DERECHA | TODO | 1PC | 0USL91 | KCHBB60S | 738270
21 | CAPILAR | TODO | 1PC | 0USM13 | KCHBB60S | 738270
22 | CONDENSADOR | TODO | 1PC | 0USI91 | KCHBB60S | 738270
23 | VENTILADOR DEL CONDENSADOR | TODO | 1PC | 0USI51 | KCHBB60S | 738270
24 | SOPORTE DE SECADOR | TODO | 1PC | 0USI78 | KCHBB60S | 738270
25 | SECADOR DE FILTROS | TODO | 1PC | 0USG66 | KCHBB60S | 738270
26 | CUBIERTA DE SALA DE UNIDAD | TODO | 1PC | 0USJ22 | KCHBB60S | 738270
27 | FIJADOR DE CUBIERTA DE SALA DE UNIDAD | TODO | 1PC | 0USK40 | KCHBB60S | 738270
28 | TUBO DE DESCARGA | TODO | 1PC | 0USI95 | KCHBB60S | 738270
29 | CAJA DE AGUA | TODO | 1PC | 0USI48 | KCHBB60S | 738270
30 | TUBO DE ASPIRACIÓN | TODO | 1PC | 0USI93 | KCHBB60S | 738270
31 | COMPRESOR | TODO | 1PC | 0USF32 | KCHBB60S | 738270
31a | JUEGO DE COMPONENTES ELÉCTRICOS DEL COMPRESOR | TODO | 1PC | 0USDF8 | KCHBB60S | 738270
32 | REJILLA DE SALA DE UNIDAD | TODO | 1PC | 0USI83 | KCHBB60S | 738270
32a | MANDO DE UBICACIÓN | TODO | 2PCS | 0USH46 | KCHBB60S | 738270
33 | TAPÓN | TODO | 1PC | 0USI53 | KCHBB60S | 738270
34 | EVAPORADOR | <24020022 | 1PC | 0USJ16 | KCHBB60S | 738270
|  | ≥24020022 | 1PC | 0USO55 | KCHBB60S | 738270
34a | Sonda del sensor de temperatura del evaporador | TODO | 1PC | 0USC6Q | KCHBB60S | 738270
35 | SOPORTE DEL VENTILADOR | TODO | 1PC | 0USK43 | KCHBB60S | 738270
36 | PALA DEL VENTILADOR DEL EVAPORADOR | TODO | 1PC | 0USI52 | KCHBB60S | 738270
37 | REJILLA DE VENTILADOR DEL EVAPORADOR | TODO | 1PC | 0USI25 | KCHBB60S | 738270
38 | MOTOR DEL VENTILADOR DEL EVAPORADOR | TODO | 1PC | 0USF16 | KCHBB60S | 738270
39 | TAPA DEL EVAPORADOR | TODO | 1PC | 0USJ24 | KCHBB60S | 738270
40 | CLIP FIJO DE SENSOR | TODO | 1PC | 0USM10 | KCHBB60S | 738270
42 | CAJA DE INTERRUPTOR DE PUERTA | TODO | 2PC | 0USF88 | KCHBB60S | 738270
43 | INTERRUPTOR DE PUERTA | TODO | 2PC | 0USI59 | KCHBB60S | 738270
44 | PLACA DE UNIÓN | TODO | 1PC | 0USK42 | KCHBB60S | 738270
45 | RECIPIENTE DE AGUA DEL EVAPORADOR | TODO | 1PC | 0USJ21 | KCHBB60S | 738270
46 | PLACA DE CONDUCCIÓN DE FLUJO DE AIRE | TODO | 1PC | 0USK44 | KCHBB60S | 738270
47 | LÁMPARA | TODO | 1PC | 0USI56 | KCHBB60S | 738270