## PARTS LIST
[5 empty] | Model: | KCHRI27R2HDF
[5 empty] | PNC: | 738285
Spare Parts List |  |  |  |  | REV: | 2024-07-11
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Support Of Unit Board | ALL | 2PCS | 0USJ68 | KCHRI27R2HDF | 738285
2 | Brake Wheel | ALL | 2PCS | 0USF04 | KCHRI27R2HDF | 738285
3 | Baffle Plate | ALL | 1PC | 0USL49 | KCHRI27R2HDF | 738285
4 | Normal Wheel | ALL | 2PCS | 0USH64 | KCHRI27R2HDF | 738285
4a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2T | KCHRI27R2HDF | 738285
4b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC2Z | KCHRI27R2HDF | 738285
4c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2Y | KCHRI27R2HDF | 738285
5 | Door Hinge /Down Right | ALL | 1PC | 0USDD7 | KCHRI27R2HDF | 738285
6 | Washer Of Down Hinge | ALL | 2PCS | 0USI27 | KCHRI27R2HDF | 738285
7 | Body | ALL | 1PC | N/A | KCHRI27R2HDF | 738285
8 | Unit Room Cover | ALL | 1PC | 0USI12 | KCHRI27R2HDF | 738285
8a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI27R2HDF | 738285
9 | Shelf | ALL | 3PCS | 0USC0W | KCHRI27R2HDF | 738285
10 | K Shape Clip | ALL | 12PCS | 0USH19 | KCHRI27R2HDF | 738285
11 | Shelf Support | ALL | 4PCS | 0USN77 | KCHRI27R2HDF | 738285
11a | Shelf Support Screw | ALL | 32PCS | 0USM14 | KCHRI27R2HDF | 738285
12 | Door | ALL | 2PCS | 0USDD6 | KCHRI27R2HDF | 738285
13 | Down Hinge Axis Jacket | ALL | 2PCS | 0USDCZ | KCHRI27R2HDF | 738285
14 | Door Spring Hinge | <04620156 | 2PCS | 0USF84 | KCHRI27R2HDF | 738285
|  | ≥04620156 | 2PCS | 0USDIZ | KCHRI27R2HDF | 738285
15 | Gasket | ALL | 2PCS | 0USDD5 | KCHRI27R2HDF | 738285
16 | Plug | ALL | 1PC | 0USH67 | KCHRI27R2HDF | 738285
18 | Door Hinge / Up Right | ALL | 1PC | 0USF72 | KCHRI27R2HDF | 738285
18a | Door Hinge / Up Left | ALL | 1PC | 0USF71 | KCHRI27R2HDF | 738285
19 | Fixed Clip Of Front Panel | ALL | 2PCS | 0USJ80 | KCHRI27R2HDF | 738285
20 | Lamp | ALL | 1PC | 0USH23 | KCHRI27R2HDF | 738285
21 | Led Power Supply | ALL | 1PC | 0USH38 | KCHRI27R2HDF | 738285
25 | Door Switch | ALL | 1PC | 0USF86 | KCHRI27R2HDF | 738285
26 | Front Panel | ALL | 1PC | 0USG81 | KCHRI27R2HDF | 738285
27 | LOCK (with key) | ALL | 1PC | 096258 | KCHRI27R2HDF | 738285
29 | Hinge | ALL | 2PCS | 0USH18 | KCHRI27R2HDF | 738285
30 | Thermostat - Full Set | <04620156 | 1PC | 0USDAF | KCHRI27R2HDF | 738285
30a | Thermostat Contactor | <04620156 | 1PC | 0USH90 | KCHRI27R2HDF | 738285
30b | Thermostat Display | <04620156 | 1PC | 0USN67 | KCHRI27R2HDF | 738285
30c | Thermostat Components | <04620156 | 1PC | 0USDAA | KCHRI27R2HDF | 738285
30 | THERMOSTAT CONTROLLER | ≥04620156 | 1PC | 0USDES | KCHRI27R2HDF | 738285
30a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4E | KCHRI27R2HDF | 738285
31 | Suction Pipe Cover | ALL | 1PC | 0USN83 | KCHRI27R2HDF | 738285
32 | Evaporator Water Pan | ALL | 1PC | 0USG53 | KCHRI27R2HDF | 738285
33 | Defrost Heating Element | ALL | 1PC | 0USF53 | KCHRI27R2HDF | 738285
34 | Fixed Board Of Evaporator | <14920044 | 1PC | 0USDEB | KCHRI27R2HDF | 738285
|  | ≥14920044 | 1PC | 0USDH1 | KCHRI27R2HDF | 738285
36 | Sensor Fixed Box | ALL | 1PC | 0USM10 | KCHRI27R2HDF | 738285
37 | Evaporator | <14920044 | 1PC | 0USG32 | KCHRI27R2HDF | 738285
|  | ≥14920044 | 1PC | 0USDJ4 | KCHRI27R2HDF | 738285
37a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6T | KCHRI27R2HDF | 738285
38 | Wall Ring | ALL | 1PC | 0USI24 | KCHRI27R2HDF | 738285
39 | Circle Fan | ALL | 1PC | 0USF16 | KCHRI27R2HDF | 738285
39a | EVAPORATOR FAN BLADE | ALL | 1PC | 0USC4K | KCHRI27R2HDF | 738285
40 | Circle Fan Support | ALL | 1PC | 0USK28 | KCHRI27R2HDF | 738285
41 | Circle Fan Cover | <14920044 | 1PC | 0USF18 | KCHRI27R2HDF | 738285
|  | ≥14920044 | 1PC | 0USDIR | KCHRI27R2HDF | 738285
42 | Helix Suction Pipe+Capillary B | ALL | 1PC | 0USH14 | KCHRI27R2HDF | 738285
43 | Cable Connector | ALL | 1PC | 0USF09 | KCHRI27R2HDF | 738285
44 | Evaporate Pipe | ALL | 1PC | 0USG16 | KCHRI27R2HDF | 738285
45 | Water Box | ALL | 1PC | 0USI29 | KCHRI27R2HDF | 738285
46 | Compressor | ALL | 1PC | 0USF26 | KCHRI27R2HDF | 738285
46a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF3 | KCHRI27R2HDF | 738285
47 | Drier Support | ALL | 1PC | 0USI78 | KCHRI27R2HDF | 738285
48 | Basket Guard Grills | ALL | 1PC | 0USDIJ | KCHRI27R2HDF | 738285
49 | Condenser Fan | ALL | 1PC | 0USF41 | KCHRI27R2HDF | 738285
49a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHRI27R2HDF | 738285
50 | Condenser | <02721191 | 1PC | 0USF36 | KCHRI27R2HDF | 738285
|  | ≥02721191 | 1PC | 0USDIS | KCHRI27R2HDF | 738285
51 | Vertical Suction Pipe+Capillary A | ALL | 1PC | 0USI20 | KCHRI27R2HDF | 738285
52 | Filter Drier | ALL | 1PC | 0USG66 | KCHRI27R2HDF | 738285
52a | CAPILLARY | ALL | 1PC | 0USC2A | KCHRI27R2HDF | 738285
54 | Down Panel | <21720001 | 1PC | 0USF97 | KCHRI27R2HDF | 738285
|  | ≥21720001 | 1PC | 0USFAU | KCHRI27R2HDF | 738285
55 | Unit Board | ALL | 1PC | 0USJ70 | KCHRI27R2HDF | 738285
56 | Guide Of Unit Board/Left | ALL | 1PC | 0USJ69 | KCHRI27R2HDF | 738285
56a | Guide Of Unit Board/Right | ALL | 1PC | 0USN84 | KCHRI27R2HDF | 738285
57 | Drain Pipe Heater | ALL | 1PC | 0USG03 | KCHRI27R2HDF | 738285
58 | Protector For Heating Element | ALL | 1PC | 0USH71 | KCHRI27R2HDF | 738285
59 | Plastic Door Hinge Cover /Down left | ALL | 1PC | 0USDGV | KCHRI27R2HDF | 738285
60 | Wind Guide Foam | ALL | 1PC | 0USI41 | KCHRI27R2HDF | 738285
61 | Keep Warm Board | ALL | 1PC | 0USH22 | KCHRI27R2HDF | 738285
62 | Fan Grill | ALL | 1PC | 0USDD8 | KCHRI27R2HDF | 738285
63 | Middle Hinge | ALL | 1PC | 0USDD0 | KCHRI27R2HDF | 738285
64 | Down Sealing Part | ALL | 1PC | 0USDD1 | KCHRI27R2HDF | 738285
65 | Up Sealing Part | ALL | 1PC | 0USDD3 | KCHRI27R2HDF | 738285
66 | Water Pipe | ALL | 1PC | 0USI36 | KCHRI27R2HDF | 738285
67 | Drain Pipe (B EXT) | ALL | 1PC | 096261 | KCHRI27R2HDF | 738285
68 | Drain Pipe (A INT) | ALL | 1PC | 096263 | KCHRI27R2HDF | 738285
69 | Controller Protector box | ALL | 1PC | 0USN72 | KCHRI27R2HDF | 738285
69a | Controller Protector cover | ALL | 1PC | 0USN73 | KCHRI27R2HDF | 738285
70 | Top Cover | ALL | 1PC | 0USN85 | KCHRI27R2HDF | 738285
71 | Drain Fixer | ALL | 1PC | 0USN75 | KCHRI27R2HDF | 738285
72 | Drain Holder | ALL | 1PC | 0USN86 | KCHRI27R2HDF | 738285
73 | Drain Pipe | ALL | 1PC | 0USN87 | KCHRI27R2HDF | 738285
74 | Bottom seal grill | <01420129 |  | N/A | KCHRI27R2HDF | 738285
|  | ≥01420129 | 1PC | 0USDIM | KCHRI27R2HDF | 738285