## PARTS LIST
[5 empty] | Model: | KCHUC27.2DR
[5 empty] | PNC: | 738290
Spare Parts List |  |  |  |  | REV: | 2024-07-11
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
2 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUC27.2DR | 738290
3 | Front Support Of Unit Board | ALL | 1PC | 0USJ57 | KCHUC27.2DR | 738290
4 | Back Support Of Unit Board | ALL | 1PC | 0USJ58 | KCHUC27.2DR | 738290
5 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUC27.2DR | 738290
5a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUC27.2DR | 738290
5b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUC27.2DR | 738290
5c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUC27.2DR | 738290
7 | TEMPERATURE CONTROLLER | <01021238 | 1PC | 0USF42 | KCHUC27.2DR | 738290
|  | ≥01021238 | 1PC | 0USDET | KCHUC27.2DR | 738290
7a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHUC27.2DR | 738290
7b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUC27.2DR | 738290
10 | CABLE COVER | ALL | 1PC | 0USK07 | KCHUC27.2DR | 738290
12 | Body | ALL | 1PC | N/A | KCHUC27.2DR | 738290
13 | Unit Room Cover | ALL | 1PC | 0USI13 | KCHUC27.2DR | 738290
14 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUC27.2DR | 738290
16 | Evaporator Cover | ALL | 1PC | 0USO12 | KCHUC27.2DR | 738290
17 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUC27.2DR | 738290
18 | Evaporator Water Pan | ALL | 1PC | 0USG58 | KCHUC27.2DR | 738290
18a | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUC27.2DR | 738290
18b | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUC27.2DR | 738290
19 | Evaporator | ALL | 1PC | 0USG35 | KCHUC27.2DR | 738290
19a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHUC27.2DR | 738290
20 | Circle Fan Support | ALL | 1PC | 0USK34 | KCHUC27.2DR | 738290
21 | Circle Fan | ALL | 1PC | 096250 | KCHUC27.2DR | 738290
22 | PLUG | ALL | 1PC | 0USH67 | KCHUC27.2DR | 738290
23 | Location Knob | ALL | 2PCS | 0USH46 | KCHUC27.2DR | 738290
24 | Top | ALL | 1PC | 0USL07 | KCHUC27.2DR | 738290
25 | TOP CLIP | ALL | 2PCS | 0USL80 | KCHUC27.2DR | 738290
26 | Condenser | ALL | 1PC | 0USF38 | KCHUC27.2DR | 738290
27 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUC27.2DR | 738290
27a | CAPILLARY | ALL | 1PC | 0USL57 | KCHUC27.2DR | 738290
28 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHUC27.2DR | 738290
29 | Condenser Fan Board | ALL | 1PC | 0USK25 | KCHUC27.2DR | 738290
30 | Condenser Fan | ALL | 1PC | 0USF14 | KCHUC27.2DR | 738290
31 | Evaporate Pipe | ALL | 1PC | 0USG19 | KCHUC27.2DR | 738290
32 | WATER BOX | ALL | 1PC | 0USI34 | KCHUC27.2DR | 738290
33 | Compressor | ALL | 1PC | 0USF24 | KCHUC27.2DR | 738290
33a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF1 | KCHUC27.2DR | 738290
34 | Suction Pipe | ALL | 1PC | 0USO14 | KCHUC27.2DR | 738290
35 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUC27.2DR | 738290
36 | Cable Connector | ALL | 1PC | 0USF09 | KCHUC27.2DR | 738290
37 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUC27.2DR | 738290
39 | UNIT BOARD | ALL | 1PC | 0USK24 | KCHUC27.2DR | 738290
50 | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHUC27.2DR | 738290
51 | DRAIN PIPE(A INT) | ALL | 1PC | 0USG04 | KCHUC27.2DR | 738290
52 | Transformer | ALL | 1PC | 096252 | KCHUC27.2DR | 738290
53 | BACK FRAME | ALL | 1PC | 0USO28 | KCHUC27.2DR | 738290
54 | FRONT FRAME | ALL | 1PC | 0USO29 | KCHUC27.2DR | 738290
54a | FRONT FRAME COVER (TOP) | ALL | 1PC | 0USM08 | KCHUC27.2DR | 738290
54b | FRONT FRAME COVER (BOTTOM) | ALL | 1PC | 0USM08 | KCHUC27.2DR | 738290
54c | FRONT FRAME COVER (LEFT) | ALL | 1PC | 0USM09 | KCHUC27.2DR | 738290
54d | FRONT FRAME COVER (RIGHT) | ALL | 1PC | 0USDEF | KCHUC27.2DR | 738290
55 | BRIDGE | ALL | 1PC | 0USO30 | KCHUC27.2DR | 738290
56 | GASKET | ALL | 2PCS | 0USO31 | KCHUC27.2DR | 738290
57 | GUIDE (RIGHT) | <31620037 | 2PCS | 0USM46 | KCHUC27.2DR | 738290
|  | ≥31620037 | 2PCS | 0USE8B | KCHUC27.2DR | 738290
58 | GUIDE (LEFT) | <31620037 | 2PCS | 0USM47 | KCHUC27.2DR | 738290
|  | ≥31620037 | 2PCS | 0USE8A | KCHUC27.2DR | 738290
59 | DRAWER PANNEL | ALL | 2PCS | 0USO32 | KCHUC27.2DR | 738290
59a | DRAWER BODY | ALL | 2PCS | 0USO33 | KCHUC27.2DR | 738290
60 | BACK FRAME CLIP | ALL | 2PCS | 0USO34 | KCHUC27.2DR | 738290
61 | DRAWER SUPPORT | ALL | 2PCS | 0USM51 | KCHUC27.2DR | 738290
62 | FRONT SUPPORT | ALL | 2PCS | 0USM52 | KCHUC27.2DR | 738290
62a | Shelf Support Screw | ALL |  | 0USM14 | KCHUC27.2DR | 738290
63 | Unit Room Cover - Bottom | <82810017 |  | N/A | KCHUC27.2DR | 738290
|  | ≥82810017 | 1PC | 0USFAF | KCHUC27.2DR | 738290