## PARTS LIST
[5 empty] | Model: | KCHBC36
[5 empty] | PNC: | 738294
Spare Parts List |  |  |  |  | REV: | 2024-04-11
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | SENSOR FIXED CLIP | ALL | 1PC | 0USM10 | KCHBC36 | 738294
4 | Evaporator Support L | ALL | 1PC | 0USG46 | KCHBC36 | 738294
4a | Evaporator Support R | ALL | 1PC | 0USM25 | KCHBC36 | 738294
6 | Evaporator Cover | ALL | 1PC | 0USG41 | KCHBC36 | 738294
7 | Circle Fan cover | ALL | 1PC | 0USF21 | KCHBC36 | 738294
8 | Circle Fan | ALL | 1PC | 0USF12 | KCHBC36 | 738294
9 | Evaporator Water Pan | ALL | 1PC | 0USG49 | KCHBC36 | 738294
10 | Evaporator | ALL | 1PC | 0USG23 | KCHBC36 | 738294
10a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6R | KCHBC36 | 738294
12 | Left Omament A | ALL | 1PC | 0USH44 | KCHBC36 | 738294
12a | Left Omament B | ALL | 1PC | 0USM29 | KCHBC36 | 738294
13 | Back Omament A | ALL | 1PC | 0USE95 | KCHBC36 | 738294
13a | Back Omament B | ALL | 1PC | 0USM40 | KCHBC36 | 738294
14 | Lock Box | ALL | 1PC | 0USH50 | KCHBC36 | 738294
14a | Lock Box Cover | ALL | 1PC | 0USL09 | KCHBC36 | 738294
15 | LOCK (with key) | ALL | 1PC | 0USH49 | KCHBC36 | 738294
16 | Right Omament A | ALL | 1PC | 0USH73 | KCHBC36 | 738294
16a | Right Omament B | ALL | 1PC | 0USM31 | KCHBC36 | 738294
17 | Omament Clip | ALL | 2PCS | 0USH66 | KCHBC36 | 738294
18 | Back Air Flow Window | ALL | 1PC | 0USE94 | KCHBC36 | 738294
19 | EVAPORATE PIPE | ALL | 1PC | 0USG45 | KCHBC36 | 738294
20 | Compressor | ALL | 1PC | 0USF24 | KCHBC36 | 738294
20a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF1 | KCHBC36 | 738294
21 | Suction Pipe | ALL | 1PC | 0USH78 | KCHBC36 | 738294
22 | WATER BOX | ALL | 1PC | 0USI34 | KCHBC36 | 738294
23 | Basket Guard Grills | <01420057 | 1PC | 0USI47 | KCHBC36 | 738294
|  | ≥01420057 | 1PC | 0USDCI | KCHBC36 | 738294
24 | Condenser Fan | ALL | 1PC | 0USF41 | KCHBC36 | 738294
24a | CONDENSER FAN BLADE | ALL | 1PC | 0USI52 | KCHBC36 | 738294
25 | Unit Board | ALL | 1PC | 0USI03 | KCHBC36 | 738294
26 | Led Power Supply | ALL | 1PC | 0USH36 | KCHBC36 | 738294
27 | Condenser | ALL | 1PC | 0USF35 | KCHBC36 | 738294
28 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHBC36 | 738294
29 | CAPILLARY | ALL | 1PC | 0USM33 | KCHBC36 | 738294
30 | Bottle Cap Box | ALL | 1PC | 0USF01 | KCHBC36 | 738294
31 | Bottle Opener | ALL | 1PC | 0USF02 | KCHBC36 | 738294
32 | Front Air Flow Window | ALL | 1PC | 0USG74 | KCHBC36 | 738294
33 | Handle | ALL | 2PCS | 0USH08 | KCHBC36 | 738294
34 | Door | ALL | 2PCS | 0USF59 | KCHBC36 | 738294
35 | TEMPERATURE CONTROLLER | <01621130 | 1PC | 0USF42 | KCHBC36 | 738294
|  | ≥01621130 | 1PC | 0USDET | KCHBC36 | 738294
35a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4C | KCHBC36 | 738294
36 | Led Power Supply | ALL | 1PC | 0USK94 | KCHBC36 | 738294
38 | Wheel | ALL | 4PCS | 0USE98 | KCHBC36 | 738294
39 | PLUG | ALL | 1PC | 0USH67 | KCHBC36 | 738294
40 | Body | ALL | 1PC | N/A | KCHBC36 | 738294
41 | Air Conduct Board | ALL | 1PC | 0USE89 | KCHBC36 | 738294
42 | Air Conduct Board Support L | ALL | 1PC | 0USE92 | KCHBC36 | 738294
42a | Air Conduct Board Support R | ALL | 1PC | 0USM35 | KCHBC36 | 738294
43 | Window Fixed Strip L | ALL | 1PC | 0USI42 | KCHBC36 | 738294
43a | Window Fixed Strip R | ALL | 1PC | 0USM36 | KCHBC36 | 738294
45 | Led Lamp | ALL | 1PC | 0USH31 | KCHBC36 | 738294
46 | LIGHT SWITCH | ALL | 1PC | 0USH45 | KCHBC36 | 738294
47 | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHBC36 | 738294
48 | CABLE CONNECTOR | ALL | 1PC | 0USF09 | KCHBC36 | 738294