## PARTS LIST
[5 empty] | Model: | KCHUCWT48F
[5 empty] | PNC: | 738304
Spare Parts List |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
3 | Thermostat Controller | <01821644 | 1PC | 0USH92 | KCHUCWT48F | 738304
|  | ≥01821644 | 1PC | 0USDES | KCHUCWT48F | 738304
3a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4F | KCHUCWT48F | 738304
3b | Controller Mounting Plate | ALL | 1PC | 0USDIF | KCHUCWT48F | 738304
5 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHUCWT48F | 738304
7 | Evaporator Cover | ALL | 1PC | 0USK10 | KCHUCWT48F | 738304
8 | FIXED SUPPORT OF EVAPORATOR COVER | ALL | 2PCS | 0USK05 | KCHUCWT48F | 738304
9 | EVAPORATOR WATER PAN | ALL | 1PC | 0USG59 | KCHUCWT48F | 738304
9a | DRAIN PIPE(A INT) | ALL | 1PC | 0USG04 | KCHUCWT48F | 738304
9b | DRAIN PIPE(B EXT) | ALL | 1PC | 096263 | KCHUCWT48F | 738304
9c | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUCWT48F | 738304
9d | DRAIN PIPE | ALL | 1PC | 0USM54 | KCHUCWT48F | 738304
10 | Protector For Heating Element | ALL | 1PC | 0USH71 | KCHUCWT48F | 738304
11 | Defrost Heating Element | ALL | 1PC | 0USF56 | KCHUCWT48F | 738304
12 | Evaporator | ALL | 1PC | 0USG36 | KCHUCWT48F | 738304
12a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6U | KCHUCWT48F | 738304
13 | Circle Fan Support | ALL | 1PC | 0USK33 | KCHUCWT48F | 738304
14 | Circle Fan | ALL | 2PCS | 096250 | KCHUCWT48F | 738304
15 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUCWT48F | 738304
16 | Lower Door Hinge/Right | ALL | 1PC | 0USF81 | KCHUCWT48F | 738304
17 | Body | ALL | 1PC | N/A | KCHUCWT48F | 738304
18 | Top Clip | ALL | 2PCS | 0USL80 | KCHUCWT48F | 738304
19 | Unit Room Cover | ALL | 1PC | 0USI14 | KCHUCWT48F | 738304
20 | PLUG | ALL | 1PC | 0USH67 | KCHUCWT48F | 738304
21 | Location Knob | ALL | 2PCS | 0USH46 | KCHUCWT48F | 738304
22 | Top | ALL | 1PC | 0USO37 | KCHUCWT48F | 738304
23 | Condenser | <03321104 | 1PC | 0USF34 | KCHUCWT48F | 738304
|  | ≥03321104 | 1PC | 0USO57 | KCHUCWT48F | 738304
24 | FILTER DRIER | ALL | 1PC | 0USG65 | KCHUCWT48F | 738304
24a | CAPILLARY | ALL | 1PC | 0USL77 | KCHUCWT48F | 738304
25 | CONDENSER FAN | ALL | 1PC | 0USDGW | KCHUCWT48F | 738304
25a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHUCWT48F | 738304
26 | Basket Guard Grills | ALL | 1PC | 0USDIJ | KCHUCWT48F | 738304
27 | EVAPORATE PIPE | ALL | 1PC | 0USG14 | KCHUCWT48F | 738304
28 | WATER BOX | ALL | 1PC | 0USI35 | KCHUCWT48F | 738304
29 | COMPRESSOR | ALL | 1PC | 0USF28 | KCHUCWT48F | 738304
29a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF5 | KCHUCWT48F | 738304
30 | Suction Pipe | ALL | 1PC | 0USO27 | KCHUCWT48F | 738304
31 | CONNECTOR SUPPORT | ALL | 1PC | 0USDEE | KCHUCWT48F | 738304
32 | Cable Connector | ALL | 1PC | 0USF09 | KCHUCWT48F | 738304
33 | CONNECTOR COVER | ALL | 1PC | 0USJ98 | KCHUCWT48F | 738304
34 | GUIDE OF UNIT BOARD/LEFT | ALL | 1PC | 0USK50 | KCHUCWT48F | 738304
35 | UNIT BOARD | ALL | 1PC | 0USK32 | KCHUCWT48F | 738304
36 | SHELF SUPPORT B | ALL | 4PCS | 0USI66 | KCHUCWT48F | 738304
36a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHUCWT48F | 738304
37 | Shelf | ALL | 2PCS | 0USC0M | KCHUCWT48F | 738304
38 | SHELF SUPPORT A | ALL | 4PCS | 0USI44 | KCHUCWT48F | 738304
38a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHUCWT48F | 738304
39 | K Shape Clip | ALL | 8PCS | 0USH19 | KCHUCWT48F | 738304
40 | Up Hinge/Left | ALL | 1PC | 0USI16 | KCHUCWT48F | 738304
41 | UP HINGE /RIGHT | ALL | 1PC | 0USI17 | KCHUCWT48F | 738304
42 | BUSHING | ALL | 2PCS | 096268 | KCHUCWT48F | 738304
43 | DOOR SPRING HINGE | ALL | 2PCS | 0USF83 | KCHUCWT48F | 738304
44 | DOOR/LEFT | ALL | 1PC | 0USM97 | KCHUCWT48F | 738304
45 | GASKET | ALL | 2PCS | 0USH00 | KCHUCWT48F | 738304
46 | RIGHT DOOR | ALL | 1PC | 0USM98 | KCHUCWT48F | 738304
47 | DOOR SWITCH | ALL | 2PCS | 096253 | KCHUCWT48F | 738304
48 | Door Switch Case | ALL | 2PCS | 0USF88 | KCHUCWT48F | 738304
50 | CABLE COVER | ALL | 1PC | 0USK07 | KCHUCWT48F | 738304
51 | BRAKE WHEEL | ALL | 2PCS | 0USF03 | KCHUCWT48F | 738304
51a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUCWT48F | 738304
51b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUCWT48F | 738304
51c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUCWT48F | 738304
52 | FRONT SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ59 | KCHUCWT48F | 738304
53 | BACK SUPPORT OF UNIT BOARD | ALL | 1PC | 0USJ60 | KCHUCWT48F | 738304
54 | Lower Door Hinge/Left | ALL | 1PC | 0USF80 | KCHUCWT48F | 738304
55 | GUIDE OF UNIT BOARD/RIGHT | ALL | 1PC | 0USK49 | KCHUCWT48F | 738304
56 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHUCWT48F | 738304
57 | Middle Girder | ALL | 1PC | 0USC6C | KCHUCWT48F | 738304
58 | Middle Girder Fixer | ALL | 2PCS | 0USH59 | KCHUCWT48F | 738304
59 | Transformer | ALL | 1PC | 096252 | KCHUCWT48F | 738304
60 | Unit Room Cover - Bottom | <9052152 |  | N/A | KCHUCWT48F | 738304
|  | ≥9052152 | 1PC | 0USFAH | KCHUCWT48F | 738304