## PARTS LIST
[5 empty] | Model: | KCHGM48F
[5 empty] | PNC: | 738309
Spare Parts List |  |  |  |  | REV: | 2025-02-10
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | LOCK (with key) | ALL | 2PCS | 096258 | KCHGM48F | 738309
2 | FRONT PANEL | <03620171 | 1PC | 0USN92 | KCHGM48F | 738309
3 | Thermostat - Full Set | <03620171 | 1PC | 0USDAF | KCHGM48F | 738309
3a | THERMOSTAT Contactor | <03620171 | 1PC | 0USH90 | KCHGM48F | 738309
3b | THERMOSTAT Display | <03620171 | 1PC | 0USN67 | KCHGM48F | 738309
3c | Thermostat Components | <03620171 | 1PC | 0USDAA | KCHGM48F | 738309
3 | THERMOSTAT CONTROLLER | ≥03620171 | 1PC | 0USDES | KCHGM48F | 738309
3a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4E | KCHGM48F | 738309
4 | LIGHT SWITCH | ALL | 1PC | 0USH45 | KCHGM48F | 738309
5 | BRAKE WHEEL | ALL | 2PCS | 0USF04 | KCHGM48F | 738309
6 | NORMAL WHEEL | ALL | 2PCS | 0USH64 | KCHGM48F | 738309
6a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2T | KCHGM48F | 738309
6b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC2Z | KCHGM48F | 738309
6c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2Y | KCHGM48F | 738309
8 | BODY | ALL | 1PC | N/A | KCHGM48F | 738309
9 | UNIT ROOM COVER | <23920037 | 1PC | 0USI08 | KCHGM48F | 738309
|  | ≥23920037 | 1PC | 0USDV4 | KCHGM48F | 738309
9a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHGM48F | 738309
10 | LEFT DOOR | ALL | 1PC | 0USN93 | KCHGM48F | 738309
11 | GASKET | ALL | 2PCS | 0USH01 | KCHGM48F | 738309
12 | GLASS DOOR HANDLE | ALL | 2PCS | 0USH05 | KCHGM48F | 738309
12a | Handle Mounting Bolt | ALL | 4PCS | 0USC6P | KCHGM48F | 738309
13 | RIGHT DOOR | ALL | 1PC | 0USN94 | KCHGM48F | 738309
14 | LED STRIP(LEFT) | ALL | 2PC | 0USH39 | KCHGM48F | 738309
14a | LED STRIP(RIGHT) | ALL | 2PC | 0USH41 | KCHGM48F | 738309
15 | CAPACITOR OF DOOR | ALL | 2PCS | 0USN80 | KCHGM48F | 738309
16 | K SHAPE CLIP | ALL | 32PCS | 0USH19 | KCHGM48F | 738309
17 | SHELF | ALL | 8PCS | 0USC0T | KCHGM48F | 738309
18 | SHELF SUPPORT | ALL | 8PCS | 0USN77 | KCHGM48F | 738309
18a | Shelf Support Screw | ALL |  | 0USM14 | KCHGM48F | 738309
19 | PLUG | ALL | 1PC | 0USH67 | KCHGM48F | 738309
20 | LED LAMP | ALL | 1PC | 0USH33 | KCHGM48F | 738309
21 | LAMP COVER | ALL | 1PC | 0USH27 | KCHGM48F | 738309
21a | DOOR SWITCH BOX | ALL | 2PCS | 0USN68 | KCHGM48F | 738309
22 | WIND GUIDE FOAM | ALL | 1PC | 0USI39 | KCHGM48F | 738309
23 | VERTICAL SUCTION PIPE+CAPILLARY A | ALL | 1PC | 0USI23 | KCHGM48F | 738309
24 | SUPPORT OF UNIT BOARD | ALL | 1PC | 0USL74 | KCHGM48F | 738309
25 | DOOR UP HINGE RIGHT | ALL | 1PC | 0USF82 | KCHGM48F | 738309
25a | DOOR UP HINGE LEFT | ALL | 1PC | 0USN78 | KCHGM48F | 738309
26 | FIXED BOARD OF EVAPORATOR | <14920814 | 1PC | 0USJ77 | KCHGM48F | 738309
|  | ≥14920814 | 1PC | 0USDH1 | KCHGM48F | 738309
28 | Sensor Fixed Clip | ALL | 1PC | 0USM11 | KCHGM48F | 738309
29 | WALL RING | ALL | 1PC | 0USI24 | KCHGM48F | 738309
30 | CIRCLE FAN | ALL | 1PC | 0USF13 | KCHGM48F | 738309
30a | EVAPORATOR FAN BLADE | ALL | 1PC | 0USC4K | KCHGM48F | 738309
31 | Evaporator | <14920814 | 1PC | 0USG33 | KCHGM48F | 738309
|  | ≥14920814 | 1PC | 0USDJ6 | KCHGM48F | 738309
31a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6T | KCHGM48F | 738309
32 | EVAPORATOR WATER PAN | ALL | 1PC | 0USJ74 | KCHGM48F | 738309
33 | Keep Warm Board | ALL | 1PC | 0USH20 | KCHGM48F | 738309
34 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USF20 | KCHGM48F | 738309
35 | CIRCLE FAN COVER | <14920814 | 1PC | 0USJ72 | KCHGM48F | 738309
|  | ≥14920814 | 1PC | 0USDIP | KCHGM48F | 738309
36 | HELIX SUCTION PIPE+CAPILLARY B | ALL | 1PC | 0USO40 | KCHGM48F | 738309
37 | JUNCTION BOX SUPPORT | ALL | 1PC | 0USL45 | KCHGM48F | 738309
38 | CABLE CONNECTOR | ALL | 1PC | 0USF09 | KCHGM48F | 738309
39 | DISCHARGE PIPE | ALL | 1PC | 0USO41 | KCHGM48F | 738309
40 | WATER BOX | ALL | 1PC | 0USI29 | KCHGM48F | 738309
41 | Compressor | ALL | 1PC | 0USF30 | KCHGM48F | 738309
41a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USDF6 | KCHGM48F | 738309
42 | BASKET GUARD GRILLS | ALL | 2PCS | 0USI81 | KCHGM48F | 738309
43 | CONDENSER FAN | ALL | 2PCS | 0USF40 | KCHGM48F | 738309
43 | CONDENSER FAN | ALL | 2PCS | 0USDGW | KCHGM48F | 738309
43a | CONDENSER FAN BLADE | ALL | 2PCS | 0USI52 | KCHGM48F | 738309
44 | Condenser | ALL | 1PC | 0USF33 | KCHGM48F | 738309
45 | FILTER DRIER | ALL | 1PC | 0USG66 | KCHGM48F | 738309
45a | CAPILLARY | ALL | 1PC | 0USL51 | KCHGM48F | 738309
47 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHGM48F | 738309
48 | UNIT BOARD | ALL | 1PC | 0USJ71 | KCHGM48F | 738309
49 | DOOR HINGE /DOWN RIGHT | ALL | 1PC | 0USF75 | KCHGM48F | 738309
49a | DOOR HINGE /DOWN LEFT | ALL | 1PC | 0USN70 | KCHGM48F | 738309
50 | LED POWER SUPPLIER | ALL | 1PC | 0USH35 | KCHGM48F | 738309
51 | WATER PIPE | ALL | 1PC | 0USI36 | KCHGM48F | 738309
52 | Water Pipe Heater | ALL | 1PC | 0USI37 | KCHGM48F | 738309
53 | DEFROST HEATING ELEMENT | ALL | 1PC | 0USF54 | KCHGM48F | 738309
55 | PROTECTOR FOR HEATING ELEMENT | ALL | 1PC | 0USH71 | KCHGM48F | 738309
57 | LAMP COVER PROTECTER | ALL | 1PC | 0USJ85 | KCHGM48F | 738309
58 | SUCTION PIPE COVER | ALL | 1PC | 0USH83 | KCHGM48F | 738309
59 | Drain Pipe (A Int) | ALL | 1PC | 096263 | KCHGM48F | 738309
60 | DRAIN PIPE(B EXT) | ALL | 1PC | 096261 | KCHGM48F | 738309
61 | SUPPORT OF EVAPORATOR LEFT | ALL | 1PC | 0USL60 | KCHGM48F | 738309
61a | SUPPORT OF EVAPORATOR RIGHT | ALL | 1PC | 0USL60 | KCHGM48F | 738309
64 | THERMOSTAT COVER | ALL | 1PC | 0USJ39 | KCHGM48F | 738309
64a | Thermostat Box ; Black | ALL | 1PC | 0USC4G | KCHGM48F | 738309
65 | DOOR SWITCH | ALL | 2PCS | 0USF85 | KCHGM48F | 738309
66 | MIDDLE GIRDER | ALL | 1PC | 0USC6F | KCHGM48F | 738309
67 | MIDDLE GIRDER FIXER | ALL | 2PCS | 0USH58 | KCHGM48F | 738309
68 | Fan Grill | ALL | 1PC | 0USG62 | KCHGM48F | 738309
69 | Label Support | ALL | 8PCS | 0USN81 | KCHGM48F | 738309
70 | Controller Protector box | ALL | 1PC | 0USN72 | KCHGM48F | 738309
70a | Controller Protector cover | ALL | 1PC | 0USN73 | KCHGM48F | 738309
71 | HINGE AXIS JACKET | ALL | 2PCS | 0USN74 | KCHGM48F | 738309
72 | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHGM48F | 738309