## PARTS LIST - ENGLISH
[5 empty] | Model: | KCHRI54R2DR-220.50
[5 empty] | PNC: | 738342
Spare Parts List |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Door Hinge /Down Left | ALL | 1PC | 0USF76 | KCHRI54R2DR-220.50 | 738342
2 | BAFFLE PLATE | ALL | 1PC | 0USL49 | KCHRI54R2DR-220.50 | 738342
3 | Down Panel | ALL | 1PC | 0USFAV | KCHRI54R2DR-220.50 | 738342
4 | Wind Guide Foam | ALL | 1PC | 0USI41 | KCHRI54R2DR-220.50 | 738342
5 | Support Of Unit Board | ALL | 2PCS | 0USJ75 | KCHRI54R2DR-220.50 | 738342
6 | BRAKE WHEEL | ALL | 2PCS | 0USF04 | KCHRI54R2DR-220.50 | 738342
7 | Foundation Plate | ALL | 2PCS | 0USJ76 | KCHRI54R2DR-220.50 | 738342
8 | NORMAL WHEEL | ALL | 2PCS | 0USH64 | KCHRI54R2DR-220.50 | 738342
8a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2T | KCHRI54R2DR-220.50 | 738342
8b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC2Z | KCHRI54R2DR-220.50 | 738342
8c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2Y | KCHRI54R2DR-220.50 | 738342
9 | Washer Of Down Hinge | ALL | 2PCS | 0USI27 | KCHRI54R2DR-220.50 | 738342
10 | Body | ALL | 1PC | N/A | KCHRI54R2DR-220.50 | 738342
11 | Unit Room Cover | ALL | 1PC | 0USO54 | KCHRI54R2DR-220.50 | 738342
11a | LOCATION KNOB | ALL | 2PCS | 0USH46 | KCHRI54R2DR-220.50 | 738342
12 | Door Spring Hinge | ALL | 2PCS | 0USDIZ | KCHRI54R2DR-220.50 | 738342
13 | DOWN HINGE AXIS JACKET | ALL | 2PCS | 0USDCZ | KCHRI54R2DR-220.50 | 738342
14 | Door/Right/Left | ALL | 2PCS | 0USF64 | KCHRI54R2DR-220.50 | 738342
15 | Gasket | ALL | 2PCS | 0USG97 | KCHRI54R2DR-220.50 | 738342
16 | K Shape Clip | ALL | 24PCS | 0USH19 | KCHRI54R2DR-220.50 | 738342
17 | Shelf | ALL | 6PCS | 0USC0X | KCHRI54R2DR-220.50 | 738342
18 | Shelf Support | ALL | 8PCS | 0USN77 | KCHRI54R2DR-220.50 | 738342
18a | Shelf Support Screw | ALL | 64PCS | 0USM14 | KCHRI54R2DR-220.50 | 738342
19 | PLUG | ALL | 1PC | 0USE8Y | KCHRI54R2DR-220.50 | 738342
20 | Washer Of Up Hinge | ALL | 2PCS | 0USI28 | KCHRI54R2DR-220.50 | 738342
21 | Fixed Clip Of Front Header Panel | ALL | 2PCS | 0USJ80 | KCHRI54R2DR-220.50 | 738342
22 | Header Lamp | ALL | 1PC | 0USH23 | KCHRI54R2DR-220.50 | 738342
23 | Led Power Supply | ALL | 1PC | 0USH38 | KCHRI54R2DR-220.50 | 738342
24 | Cable Connector | ALL | 1PC | 0USF09 | KCHRI54R2DR-220.50 | 738342
25 | Fan Grill | ALL | 1PC | 0USDD8 | KCHRI54R2DR-220.50 | 738342
26 | Insulation Board | ALL | 1PC | 0USH20 | KCHRI54R2DR-220.50 | 738342
28 | Front Header Panel | ALL | 1PC | 0USG83 | KCHRI54R2DR-220.50 | 738342
29 | Temperature Controller | ALL | 1PC | 0USE8T | KCHRI54R2DR-220.50 | 738342
29a | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USC4D | KCHRI54R2DR-220.50 | 738342
30 | LOCK (with key) | ALL | 2PCS | 0USFAE | KCHRI54R2DR-220.50 | 738342
31 | Header Panel Hinge | ALL | 2PCS | 0USH18 | KCHRI54R2DR-220.50 | 738342
32 | Door Switch | ALL | 2PCS | 0USF86 | KCHRI54R2DR-220.50 | 738342
33 | Door Hinge /Up Left | ALL | 1PC | 0USF71 | KCHRI54R2DR-220.50 | 738342
33a | Door Hinge /Up Right | ALL | 1PC | 0USF72 | KCHRI54R2DR-220.50 | 738342
34 | SUCTION PIPE COVER | ALL | 1PC | 0USN83 | KCHRI54R2DR-220.50 | 738342
35 | Fixed Board Of Evaporator | ALL | 2PCS | 0USDH1 | KCHRI54R2DR-220.50 | 738342
37 | Sensor Fixed Clip | ALL | 1PC | 0USM10 | KCHRI54R2DR-220.50 | 738342
38 | Wall Ring | ALL | 1PC | 0USI24 | KCHRI54R2DR-220.50 | 738342
39 | Circle Fan | ALL | 1PC | 0USE8X | KCHRI54R2DR-220.50 | 738342
39a | EVAPORATOR FAN BLADE | ALL | 1PC | 0USC4K | KCHRI54R2DR-220.50 | 738342
40 | EVAPORATOR | ALL | 1PC | 0USDJ5 | KCHRI54R2DR-220.50 | 738342
40a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USC6S | KCHRI54R2DR-220.50 | 738342
41 | EVAPORATOR WATER PAN | ALL | 1PC | 0USJ74 | KCHRI54R2DR-220.50 | 738342
42 | CIRCLE FAN SUPPORT | ALL | 1PC | 0USF20 | KCHRI54R2DR-220.50 | 738342
43 | Circle Fan Cover | ALL | 1PC | 0USDIQ | KCHRI54R2DR-220.50 | 738342
44 | Helix Suction Pipe+Capillary B | ALL | 1PC | 0USH17 | KCHRI54R2DR-220.50 | 738342
45 | Evaporate Pipe | ALL | 1PC | 0USG17 | KCHRI54R2DR-220.50 | 738342
46 | Water Box | ALL | 1PC | 0USI29 | KCHRI54R2DR-220.50 | 738342
47 | COMPRESSOR | ALL | 1PC | 096245 | KCHRI54R2DR-220.50 | 738342
47a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USFAY | KCHRI54R2DR-220.50 | 738342
48 | DRIER SUPPORT | ALL | 1PC | 0USI78 | KCHRI54R2DR-220.50 | 738342
49 | BASKET GUARD GRILLS | ALL | 1PC | 0USDIJ | KCHRI54R2DR-220.50 | 738342
50 | Condenser Fan | ALL | 1PC | 0USE8W | KCHRI54R2DR-220.50 | 738342
50a | CONDENSER FAN BLADE | ALL | 1PC | 0USC4J | KCHRI54R2DR-220.50 | 738342
51 | Vertical Suction Pipe+Capillary A | ALL | 1PC | 0USI22 | KCHRI54R2DR-220.50 | 738342
52 | Filter Drier | ALL | 1PC | 0USG66 | KCHRI54R2DR-220.50 | 738342
52a | CAPILLARY | ALL | 1PC | 0USM13 | KCHRI54R2DR-220.50 | 738342
53 | Condenser | ALL | 1PC | 0USF34 | KCHRI54R2DR-220.50 | 738342
54 | Unit Board | ALL | 1PC | 0USJ70 | KCHRI54R2DR-220.50 | 738342
55 | Guide Of Unit Board/Left | ALL | 1PC | 0USJ69 | KCHRI54R2DR-220.50 | 738342
55a | Guide Of Unit Board/Right | ALL | 1PC | 0USN84 | KCHRI54R2DR-220.50 | 738342
56 | Door Hinge /Down Right | ALL | 1PC | 0USF78 | KCHRI54R2DR-220.50 | 738342
57 | Middle Girder | ALL | 1PC | 0USN88 | KCHRI54R2DR-220.50 | 738342
58 | Middle Girder Fixer | ALL | 2PCS | 0USH58 | KCHRI54R2DR-220.50 | 738342
59 | WATER PIPE | ALL | 1PC | 0USI36 | KCHRI54R2DR-220.50 | 738342
60 | DRAIN PIPE(B EXT) | ALL | 1PC | 096261 | KCHRI54R2DR-220.50 | 738342
61 | Drain Pipe (A Int) | ALL | 1PC | 096263 | KCHRI54R2DR-220.50 | 738342
63 | TOP COVER | ALL | 1PC | 0USN89 | KCHRI54R2DR-220.50 | 738342
64 | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHRI54R2DR-220.50 | 738342
65 | DRAIN HOLDER | ALL | 1PC | 0USN86 | KCHRI54R2DR-220.50 | 738342
66 | DRAIN PIPE | ALL | 1PC | 0USN87 | KCHRI54R2DR-220.50 | 738342
67 | Bottom Seal grill | ALL | 1PC | 0USDIN | KCHRI54R2DR-220.50 | 738342
| Vacuum Valve | ALL | 1PC | 0USDR8 | KCHRI54R2DR-220.50 | 738342

## PARTS LIST - SPANISH
[5 empty] | Modelo: | KCHRI54R2DR-220.50
[5 empty] | PNC: | 738342
Lista de repuestos |  |  |  |  | REV: | 2025-02-18
NO | DESCRIPCIÓN | de serie # | QTY | COMPONENTE PNC | Número de modelo | Modelo PNC
1 | Bisagra de puerta /inferior izquierda | TODO | 1PC | 0USF76 | KCHRI54R2DR-220.50 | 738342
2 | PLACA DEFLECTORA | TODO | 1PC | 0USL49 | KCHRI54R2DR-220.50 | 738342
3 | Panel inferior | TODO | 1PC | 0USFAV | KCHRI54R2DR-220.50 | 738342
4 | Espuma de guía de viento | TODO | 1PC | 0USI41 | KCHRI54R2DR-220.50 | 738342
5 | Soporte de placa de unión | TODO | 2PCS | 0USJ75 | KCHRI54R2DR-220.50 | 738342
6 | RUEDA CON FRENO | TODO | 2PCS | 0USF04 | KCHRI54R2DR-220.50 | 738342
7 | Placa de cimentación | TODO | 2PCS | 0USJ76 | KCHRI54R2DR-220.50 | 738342
8 | RUEDA NORMAL | TODO | 2PCS | 0USH64 | KCHRI54R2DR-220.50 | 738342
8a | Perno de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC2T | KCHRI54R2DR-220.50 | 738342
8b | Arandela de seguridad de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC2Z | KCHRI54R2DR-220.50 | 738342
8c | Arandela plana de montaje de rueda (PAQUETE DE 4) | TODO | 4PC | 0USC2Y | KCHRI54R2DR-220.50 | 738342
9 | Arandela de bisagra inferior | TODO | 2PCS | 0USI27 | KCHRI54R2DR-220.50 | 738342
10 | Cuerpo | TODO | 1PC | N/A | KCHRI54R2DR-220.50 | 738342
11 | Cubierta de sala de unidad | TODO | 1PC | 0USO54 | KCHRI54R2DR-220.50 | 738342
11a | MANDO DE UBICACIÓN | TODO | 2PCS | 0USH46 | KCHRI54R2DR-220.50 | 738342
12 | Bisagra de resorte de puerta | TODO | 2PCS | 0USDIZ | KCHRI54R2DR-220.50 | 738342
13 | CUBIERTA DE EJE DE BISAGRA INFERIOR | TODO | 2PCS | 0USDCZ | KCHRI54R2DR-220.50 | 738342
14 | Puerta/derecha/izquierda | TODO | 2PCS | 0USF64 | KCHRI54R2DR-220.50 | 738342
15 | Junta | TODO | 2PCS | 0USG97 | KCHRI54R2DR-220.50 | 738342
16 | Clip en forma de K | TODO | 24PCS | 0USH19 | KCHRI54R2DR-220.50 | 738342
17 | Estante | TODO | 6PCS | 0USC0X | KCHRI54R2DR-220.50 | 738342
18 | Soporte de estante | TODO | 8PCS | 0USN77 | KCHRI54R2DR-220.50 | 738342
18a | Tornillo de soporte de estante | TODO | 64PCS | 0USM14 | KCHRI54R2DR-220.50 | 738342
19 | TAPÓN | TODO | 1PC | 0USE8Y | KCHRI54R2DR-220.50 | 738342
20 | Arandela de bisagra superior | TODO | 2PCS | 0USI28 | KCHRI54R2DR-220.50 | 738342
21 | Clip fijo de panel de cabecera delantero | TODO | 2PCS | 0USJ80 | KCHRI54R2DR-220.50 | 738342
22 | Luz de cabecera | TODO | 1PC | 0USH23 | KCHRI54R2DR-220.50 | 738342
23 | Alimentación de LED | TODO | 1PC | 0USH38 | KCHRI54R2DR-220.50 | 738342
24 | Conector de cable | TODO | 1PC | 0USF09 | KCHRI54R2DR-220.50 | 738342
25 | Rejilla de ventilador | TODO | 1PC | 0USDD8 | KCHRI54R2DR-220.50 | 738342
26 | Placa aislante | TODO | 1PC | 0USH20 | KCHRI54R2DR-220.50 | 738342
28 | Panel de cabecera frontal | TODO | 1PC | 0USG83 | KCHRI54R2DR-220.50 | 738342
29 | Controlador de temperatura | TODO | 1PC | 0USE8T | KCHRI54R2DR-220.50 | 738342
29a | Sonda interior de temperatura de unidad horizontal | TODO | 1PC | 0USC4D | KCHRI54R2DR-220.50 | 738342
30 | CERRADURA (con llave) | TODO | 2PCS | 0USFAE | KCHRI54R2DR-220.50 | 738342
31 | Bisagra de panel de cabecera | TODO | 2PCS | 0USH18 | KCHRI54R2DR-220.50 | 738342
32 | Interruptor de puerta | TODO | 2PCS | 0USF86 | KCHRI54R2DR-220.50 | 738342
33 | Bisagra de puerta /superior izquierda | TODO | 1PC | 0USF71 | KCHRI54R2DR-220.50 | 738342
33a | Bisagra de puerta /superior derecha | TODO | 1PC | 0USF72 | KCHRI54R2DR-220.50 | 738342
34 | TAPA DE TUBO DE ASPIRACIÓN | TODO | 1PC | 0USN83 | KCHRI54R2DR-220.50 | 738342
35 | Placa fija del evaporador | TODO | 2PCS | 0USDH1 | KCHRI54R2DR-220.50 | 738342
37 | Clip fijo de sensor | TODO | 1PC | 0USM10 | KCHRI54R2DR-220.50 | 738342
38 | Anillo de pared | TODO | 1PC | 0USI24 | KCHRI54R2DR-220.50 | 738342
39 | Ventilador circular | TODO | 1PC | 0USE8X | KCHRI54R2DR-220.50 | 738342
39a | PALA DEL VENTILADOR DEL EVAPORADOR | TODO | 1PC | 0USC4K | KCHRI54R2DR-220.50 | 738342
40 | EVAPORADOR | TODO | 1PC | 0USDJ5 | KCHRI54R2DR-220.50 | 738342
40a | Sonda del sensor de temperatura del evaporador | TODO | 1PC | 0USC6S | KCHRI54R2DR-220.50 | 738342
41 | RECIPIENTE DE AGUA DEL EVAPORADOR | TODO | 1PC | 0USJ74 | KCHRI54R2DR-220.50 | 738342
42 | SOPORTE DEL VENTILADOR CIRCULAR | TODO | 1PC | 0USF20 | KCHRI54R2DR-220.50 | 738342
43 | Cubierta del ventilador circular | TODO | 1PC | 0USDIQ | KCHRI54R2DR-220.50 | 738342
44 | Tubo de aspiración helicoidal+capilar B | TODO | 1PC | 0USH17 | KCHRI54R2DR-220.50 | 738342
45 | Tubo de evaporación | TODO | 1PC | 0USG17 | KCHRI54R2DR-220.50 | 738342
46 | Caja de agua | TODO | 1PC | 0USI29 | KCHRI54R2DR-220.50 | 738342
47 | COMPRESOR | TODO | 1PC | 096245 | KCHRI54R2DR-220.50 | 738342
47a | JUEGO DE COMPONENTES ELÉCTRICOS DEL COMPRESOR | TODO | 1PC | 0USFAY | KCHRI54R2DR-220.50 | 738342
48 | SOPORTE DE SECADOR | TODO | 1PC | 0USI78 | KCHRI54R2DR-220.50 | 738342
49 | REJILLAS PROTECTORAS DE CESTOS | TODO | 1PC | 0USDIJ | KCHRI54R2DR-220.50 | 738342
50 | Ventilador del condensador | TODO | 1PC | 0USE8W | KCHRI54R2DR-220.50 | 738342
50a | PALA DEL VENTILADOR DEL CONDENSADOR | TODO | 1PC | 0USC4J | KCHRI54R2DR-220.50 | 738342
51 | Tubo de aspiración vertical+capilar A | TODO | 1PC | 0USI22 | KCHRI54R2DR-220.50 | 738342
52 | Secador de filtros | TODO | 1PC | 0USG66 | KCHRI54R2DR-220.50 | 738342
52a | CAPILAR | TODO | 1PC | 0USM13 | KCHRI54R2DR-220.50 | 738342
53 | Condensador | TODO | 1PC | 0USF34 | KCHRI54R2DR-220.50 | 738342
54 | Placa de unión | TODO | 1PC | 0USJ70 | KCHRI54R2DR-220.50 | 738342
55 | Guía de placa de unión/izquierda | TODO | 1PC | 0USJ69 | KCHRI54R2DR-220.50 | 738342
55a | Guía de placa de unión/derecha | TODO | 1PC | 0USN84 | KCHRI54R2DR-220.50 | 738342
56 | Bisagra de puerta /inferior derecha | TODO | 1PC | 0USF78 | KCHRI54R2DR-220.50 | 738342
57 | Vigueta intermedia | TODO | 1PC | 0USN88 | KCHRI54R2DR-220.50 | 738342
58 | Fijador de vigueta intermedia | TODO | 2PCS | 0USH58 | KCHRI54R2DR-220.50 | 738342
59 | CONDUCTO DE AGUA | TODO | 1PC | 0USI36 | KCHRI54R2DR-220.50 | 738342
60 | TUBO DE DESCARGA (B EXT.) | TODO | 1PC | 096261 | KCHRI54R2DR-220.50 | 738342
61 | Tubo de descarga (A int.) | TODO | 1PC | 096263 | KCHRI54R2DR-220.50 | 738342
63 | CUBIERTA SUPERIOR | TODO | 1PC | 0USN89 | KCHRI54R2DR-220.50 | 738342
64 | FIJADOR DE DESCARGA | TODO | 1PC | 0USN75 | KCHRI54R2DR-220.50 | 738342
65 | SOPORTE DE DESCARGA | TODO | 1PC | 0USN86 | KCHRI54R2DR-220.50 | 738342
66 | TUBO DE DESCARGA | TODO | 1PC | 0USN87 | KCHRI54R2DR-220.50 | 738342
67 | Rejilla de sellado inferior | TODO | 1PC | 0USDIN | KCHRI54R2DR-220.50 | 738342
| Válvula de vacío | TODO | 1PC | 0USDR8 | KCHRI54R2DR-220.50 | 738342