## PARTS LIST - ENGLISH
[5 empty] | Model: | KCHUCWT48R-220.50
[5 empty] | PNC: | 738343
Spare Parts List |  |  |  |  | REV: | 2025-12-16
NO | DESCRIPTION | Serial # | QTY | COMPONENT PNC | Model Number | Model PNC
1 | Thermostat Protective Box | ALL | 1PC | 0USFAR | KCHUCWT48R-220.50 | 738343
1a | Thermostat Protective Box Cover | ALL | 1PC | 0USFAT | KCHUCWT48R-220.50 | 738343
2 | Temperature Controller | ALL | 1PC | 0USE8T | KCHUCWT48R-220.50 | 738343
2a | Controller Mounting Plate | <54220032 | 1PC | 0USDIF | KCHUCWT48R-220.50 | 738343
| Controller Mounting Plate (With Steel Box) | ≥54220032 | 1PC | 0USO91 | KCHUCWT48R-220.50 | 738343
5 | Sensor Fixed BOX | ALL | 1PC | 0USM10 | KCHUCWT48R-220.50 | 738343
7 | Evaporator Cover | ALL | 1PC | 0USL36 | KCHUCWT48R-220.50 | 738343
8 | Fixed Support Of Evaporator Cover | ALL | 2PCS | 0USDYG | KCHUCWT48R-220.50 | 738343
9 | Evaporator Water Pan | ALL | 1PC | 0USG60 | KCHUCWT48R-220.50 | 738343
10 | Evaporator | ALL | 1PC | 0USG37 | KCHUCWT48R-220.50 | 738343
11 | Circle Fan Support | ALL | 1PC | 0USK35 | KCHUCWT48R-220.50 | 738343
12 | Normal Wheel | ALL | 2PCS | 0USH63 | KCHUCWT48R-220.50 | 738343
13 | Circle Fan | ALL | 1PC | 096250 | KCHUCWT48R-220.50 | 738343
14 | Lower Door Hinge/Right | ALL | 1PC | 0USE4W | KCHUCWT48R-220.50 | 738343
15 | Body | ALL | 1PC | N/A | KCHUCWT48R-220.50 | 738343
16 | Top Clip | ALL | 2PCS | 0USL80 | KCHUCWT48R-220.50 | 738343
17 | Unit Room Cover | ALL | 1PC | 0USI14 | KCHUCWT48R-220.50 | 738343
18 | Plug | ALL | 1PC | 0USFB2 | KCHUCWT48R-220.50 | 738343
19 | Location Knob | ALL | 1PC | 0USH46 | KCHUCWT48R-220.50 | 738343
20 | Top | ALL | 1PC | 0USO37 | KCHUCWT48R-220.50 | 738343
21 | Condenser | ALL | 1PC | 0USFAQ | KCHUCWT48R-220.50 | 738343
22 | Filter Drier | ALL | 1PC | 0USG65 | KCHUCWT48R-220.50 | 738343
22a | CAPILLARY | ALL | 1PC | 0USM33 | KCHUCWT48R-220.50 | 738343
23 | Basket Guard Grills | ALL | 1PC | 0USDCI | KCHUCWT48R-220.50 | 738343
24 | Condenser Fan | ALL | 1PC | 0USE8V | KCHUCWT48R-220.50 | 738343
24a | CONDENSER FAN BLADE | ALL | 1PC | 0USI52 | KCHUCWT48R-220.50 | 738343
25 | Evaporate Pipe | ALL | 1PC | 0USFAN | KCHUCWT48R-220.50 | 738343
26 | Water Box | ALL | 1PC | 0USI35 | KCHUCWT48R-220.50 | 738343
27 | Compressor | ALL | 1PC | 096245 | KCHUCWT48R-220.50 | 738343
27a | COMPRESSOR ELECTRICAL COMPONENT SET | ALL | 1PC | 0USFAY | KCHUCWT48R-220.50 | 738343
28 | Suction Pipe | ALL | 1PC | 0USO26 | KCHUCWT48R-220.50 | 738343
29 | Connector Support | ALL | 1PC | 0USDEE | KCHUCWT48R-220.50 | 738343
30 | Cable Connector | ALL | 1PC | 0USF09 | KCHUCWT48R-220.50 | 738343
31 | Connector Cover | ALL | 1PC | 0USFAP | KCHUCWT48R-220.50 | 738343
35 | Shelf Support B | ALL | 4PCS | 0USI66 | KCHUCWT48R-220.50 | 738343
35a | Shelf Support Screw | ALL | 8PCS | 0USM14 | KCHUCWT48R-220.50 | 738343
36 | Shelf | ALL | 2PCS | 0USC0M | KCHUCWT48R-220.50 | 738343
37 | Shelf Support A | ALL | 4PCS | 0USI44 | KCHUCWT48R-220.50 | 738343
37a | Shelf Support Screw | ALL | 12PCS | 0USM14 | KCHUCWT48R-220.50 | 738343
38 | K Shape Clip | ALL | 8PCS | 0USH19 | KCHUCWT48R-220.50 | 738343
39 | Up Hinge/Left | ALL | 1PC | 0USE4N | KCHUCWT48R-220.50 | 738343
40 | Up Hinge /Right | ALL | 1PC | 0USE4X | KCHUCWT48R-220.50 | 738343
41 | Bushing | ALL | 2PCS | 096268 | KCHUCWT48R-220.50 | 738343
42 | Gasket | ALL | 2PCS | 0USH00 | KCHUCWT48R-220.50 | 738343
43 | Door /Left | ALL | 1PC | 0USM97 | KCHUCWT48R-220.50 | 738343
44 | Door Spring Hinge | ALL | 2PCS | 0USE4V | KCHUCWT48R-220.50 | 738343
45 | RIGHT DOOR | ALL | 1PC | 0USM98 | KCHUCWT48R-220.50 | 738343
46 | Door Switch | ALL | 2PCS | 0USFAA | KCHUCWT48R-220.50 | 738343
47 | Door Switch Case | ALL | 2PCS | 0USF88 | KCHUCWT48R-220.50 | 738343
48 | CABLE COVER | ALL | 1 PC | 0USK07 | KCHUCWT48R-220.50 | 738343
49 | Brake Wheel | ALL | 2PCS | 0USF03 | KCHUCWT48R-220.50 | 738343
49a | Castor Mounting Bolt (4-PACK) | ALL | 4PC | 0USC2U | KCHUCWT48R-220.50 | 738343
49b | Castor Mounting Locking Washer (4-PACK) | ALL | 4PC | 0USC4A | KCHUCWT48R-220.50 | 738343
49c | Castor Mounting Flat Washer (4-PACK) | ALL | 4PC | 0USC2X | KCHUCWT48R-220.50 | 738343
50 | Front Support Of Unit Board | ALL | 1PC | 0USJ59 | KCHUCWT48R-220.50 | 738343
51 | Back Support Of Unit Board | ALL | 1PC | 0USJ60 | KCHUCWT48R-220.50 | 738343
52 | Door Hinge/Left | ALL | 1PC | 0USE4O | KCHUCWT48R-220.50 | 738343
54 | Drier Support | ALL | 1 PC | 0USI78 | KCHUCWT48R-220.50 | 738343
55 | Drain Pipe(A Int) | ALL | 1PC | 096263 | KCHUCWT48R-220.50 | 738343
56 | Drain Pipe(B Ext) | ALL | 1PC | 0USG04 | KCHUCWT48R-220.50 | 738343
57 | Middle Girder | ALL | 1PC | 0USE6X | KCHUCWT48R-220.50 | 738343
58 | Middle Girder Fixer | ALL | 2PCS | 0USH59 | KCHUCWT48R-220.50 | 738343
59 | Transformer | ALL | 1PC | 096252 | KCHUCWT48R-220.50 | 738343
60 | Inner Chest Temperature Sensor Probe | ALL | 1PC | 0USDCR | KCHUCWT48R-220.50 | 738343
60a | Evaporator Temperature Sensor Probe | ALL | 1PC | 0USDH8 | KCHUCWT48R-220.50 | 738343
61 | Drain Pipe | ALL | 1PC | 0USM54 | KCHUCWT48R-220.50 | 738343
61a | DRAIN FIXER | ALL | 1PC | 0USN75 | KCHUCWT48R-220.50 | 738343
62 | Unit Room Cover - Bottom | ALL | 1PC | 0USFAH | KCHUCWT48R-220.50 | 738343

## PARTS LIST - SPANISH
[5 empty] | Modelo: | KCHUCWT48R-220.50
[5 empty] | PNC: | 738343
Lista de repuestos |  |  |  |  | REV: | 2025-12-16
NO | DESCRIPCIÓN | de serie # | QTY | COMPONENTE PNC | Número de modelo | Modelo PNC
1 | Caja protectora del termostato | TODO | 1PC | 0USFAR | KCHUCWT48R-220.50 | 738343
1a | Tapa de caja protectora del termostato | TODO | 1PC | 0USFAT | KCHUCWT48R-220.50 | 738343
2 | Controlador de temperatura | TODO | 1PC | 0USE8T | KCHUCWT48R-220.50 | 738343
2a | Placa de montaje del controlador | <54220032 | 1PC | 0USDIF | KCHUCWT48R-220.50 | 738343
| Placa de montaje del controlador (con caja de acero) | ≥54220032 | 1PC | 0USO91 | KCHUCWT48R-220.50 | 738343
5 | Caja fija de sensor | TODO | 1PC | 0USM10 | KCHUCWT48R-220.50 | 738343
7 | Tapa del evaporador | TODO | 1PC | 0USL36 | KCHUCWT48R-220.50 | 738343
8 | Soporte fijo de cubierta del evaporador | TODO | 2PCS | 0USDYG | KCHUCWT48R-220.50 | 738343
9 | Recipiente de agua del evaporador | TODO | 1PC | 0USG60 | KCHUCWT48R-220.50 | 738343
10 | Evaporador | TODO | 1PC | 0USG37 | KCHUCWT48R-220.50 | 738343
11 | Soporte del ventilador circular | TODO | 1PC | 0USK35 | KCHUCWT48R-220.50 | 738343
12 | Rueda normal | TODO | 2PCS | 0USH63 | KCHUCWT48R-220.50 | 738343
13 | Ventilador circular | TODO | 1PC | 096250 | KCHUCWT48R-220.50 | 738343
14 | Bisagra de puerta inferior/derecha | TODO | 1PC | 0USE4W | KCHUCWT48R-220.50 | 738343
15 | Cuerpo | TODO | 1PC | N/A | KCHUCWT48R-220.50 | 738343
16 | Clip superior | TODO | 2PCS | 0USL80 | KCHUCWT48R-220.50 | 738343
17 | Cubierta de sala de unidad | TODO | 1PC | 0USI14 | KCHUCWT48R-220.50 | 738343
18 | Tapón | TODO | 1PC | 0USFB2 | KCHUCWT48R-220.50 | 738343
19 | Mando de ubicación | TODO | 1PC | 0USH46 | KCHUCWT48R-220.50 | 738343
20 | Parte superior | TODO | 1PC | 0USO37 | KCHUCWT48R-220.50 | 738343
21 | Condensador | TODO | 1PC | 0USFAQ | KCHUCWT48R-220.50 | 738343
22 | Secador de filtros | TODO | 1PC | 0USG65 | KCHUCWT48R-220.50 | 738343
22a | CAPILAR | TODO | 1PC | 0USM33 | KCHUCWT48R-220.50 | 738343
23 | Rejillas protectoras de cestos | TODO | 1PC | 0USDCI | KCHUCWT48R-220.50 | 738343
24 | Ventilador del condensador | TODO | 1PC | 0USE8V | KCHUCWT48R-220.50 | 738343
24a | PALA DEL VENTILADOR DEL CONDENSADOR | TODO | 1PC | 0USI52 | KCHUCWT48R-220.50 | 738343
25 | Tubo de evaporación | TODO | 1PC | 0USFAN | KCHUCWT48R-220.50 | 738343
26 | Caja de agua | TODO | 1PC | 0USI35 | KCHUCWT48R-220.50 | 738343
27 | Compresor | TODO | 1PC | 096245 | KCHUCWT48R-220.50 | 738343
27a | JUEGO DE COMPONENTES ELÉCTRICOS DEL COMPRESOR | TODO | 1PC | 0USFAY | KCHUCWT48R-220.50 | 738343
28 | Tubo de aspiración | TODO | 1PC | 0USO26 | KCHUCWT48R-220.50 | 738343
29 | Soporte del conector | TODO | 1PC | 0USDEE | KCHUCWT48R-220.50 | 738343
30 | Conector de cable | TODO | 1PC | 0USF09 | KCHUCWT48R-220.50 | 738343
31 | Cubierta del conector | TODO | 1PC | 0USFAP | KCHUCWT48R-220.50 | 738343
35 | Soporte de estante B | TODO | 4PCS | 0USI66 | KCHUCWT48R-220.50 | 738343
35a | Tornillo de soporte de estante | TODO | 8PCS | 0USM14 | KCHUCWT48R-220.50 | 738343
36 | Estante | TODO | 2PCS | 0USC0M | KCHUCWT48R-220.50 | 738343
37 | Soporte de estante A | TODO | 4PCS | 0USI44 | KCHUCWT48R-220.50 | 738343
37a | Tornillo de soporte de estante | TODO | 12PCS | 0USM14 | KCHUCWT48R-220.50 | 738343
38 | Clip en forma de K | TODO | 8PCS | 0USH19 | KCHUCWT48R-220.50 | 738343
39 | Bisagra superior/izquierda | TODO | 1PC | 0USE4N | KCHUCWT48R-220.50 | 738343
40 | Bisagra superior /derecha | TODO | 1PC | 0USE4X | KCHUCWT48R-220.50 | 738343
41 | Casquillo | TODO | 2PCS | 096268 | KCHUCWT48R-220.50 | 738343
42 | Junta | TODO | 2PCS | 0USH00 | KCHUCWT48R-220.50 | 738343
43 | Puerta /izquierda | TODO | 1PC | 0USM97 | KCHUCWT48R-220.50 | 738343
44 | Bisagra de resorte de puerta | TODO | 2PCS | 0USE4V | KCHUCWT48R-220.50 | 738343
45 | PUERTA DERECHA | TODO | 1PC | 0USM98 | KCHUCWT48R-220.50 | 738343
46 | Interruptor de puerta | TODO | 2PCS | 0USFAA | KCHUCWT48R-220.50 | 738343
47 | Caja de interruptor de puerta | TODO | 2PCS | 0USF88 | KCHUCWT48R-220.50 | 738343
48 | CUBIERTA DE CABLE | TODO | 1 PC | 0USK07 | KCHUCWT48R-220.50 | 738343
49 | Rueda con freno | TODO | 2PCS | 0USF03 | KCHUCWT48R-220.50 | 738343
49a | Perno de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC2U | KCHUCWT48R-220.50 | 738343
49b | Arandela de seguridad de montaje de rueda; (PAQUETE DE 4) | TODO | 4PC | 0USC4A | KCHUCWT48R-220.50 | 738343
49c | Arandela plana de montaje de rueda (PAQUETE DE 4) | TODO | 4PC | 0USC2X | KCHUCWT48R-220.50 | 738343
50 | Soporte frontal de placa de unión | TODO | 1PC | 0USJ59 | KCHUCWT48R-220.50 | 738343
51 | Soporte posterior de placa de unión | TODO | 1PC | 0USJ60 | KCHUCWT48R-220.50 | 738343
52 | Bisagra de puerta /izquierda | TODO | 1PC | 0USE4O | KCHUCWT48R-220.50 | 738343
54 | Soporte de secador | TODO | 1 PC | 0USI78 | KCHUCWT48R-220.50 | 738343
55 | Tubo de descarga (A int.) | TODO | 1PC | 096263 | KCHUCWT48R-220.50 | 738343
56 | Tubo de descarga (B ext.) | TODO | 1PC | 0USG04 | KCHUCWT48R-220.50 | 738343
57 | Vigueta intermedia | TODO | 1PC | 0USE6X | KCHUCWT48R-220.50 | 738343
58 | Fijador de vigueta intermedia | TODO | 2PCS | 0USH59 | KCHUCWT48R-220.50 | 738343
59 | Transformador | TODO | 1PC | 096252 | KCHUCWT48R-220.50 | 738343
60 | Sonda interior de temperatura de unidad horizontal | TODO | 1PC | 0USDCR | KCHUCWT48R-220.50 | 738343
60a | Sonda del sensor de temperatura del evaporador | TODO | 1PC | 0USDH8 | KCHUCWT48R-220.50 | 738343
61 | Tubo de descarga | TODO | 1PC | 0USM54 | KCHUCWT48R-220.50 | 738343
61a | FIJADOR DE DESCARGA | TODO | 1PC | 0USN75 | KCHUCWT48R-220.50 | 738343
62 | Cubierta de sala de unidad - inferior | TODO | 1PC | 0USFAH | KCHUCWT48R-220.50 | 738343